## Overview
Company and Licence name, charging year, effective from, status
| Company and Licence name | Year | Effective From | Status
Company and Licence name, charging year, effective from, status | Indigo Power Limited_K | 2027/2028 | 2027-04-01 | Final
List of data tables in this workbook
Worksheet | Information
Annex 1 LV, HV and Unmetered Supplies charges | Annex 1 contains the charges to LV and HV Designated Properties and Unmetered Supplies.
Annex 2 EHV charges | Annex 2 contains the charges to Designated EHV Properties and charges applied to LDNOs with Designated EHV Properties/end-users embedded in networks within the Indigo Power Limited_K Licence area.
Annex 3 Preserved charges | Annex 3 contains details of any preserved and additional charges that are valid at this time.
Annex 4 LDNO charges | Annex 4 contains charges that are levied on the owner of an embedded network within the Indigo Power Limited_K Licence area. Electricity suppliers and consumers who have properties connected to an embedded network should contact the embedded network owner to determine their distribution charges. The charges listed in this table are not payable by domestic consumers, business consumers or electricity suppliers.
Annex 5 LLFs | Annex 5 has been intentionally left blank as this charging statement is published a complete year before the LLFs have been audited. The line loss factors that are approved by the BSC Panel for the applicable year and consequently published on the Elexon website will take precedence and be used in Settlement. This annex will be re-published with these values once they are available.
Annex 6 Charges for New or Amended Designated EHV Properties | Annex 6 contains the charges for new or amended Designated EHV Properties and charges applied to LDNOs with new or amended Designated EHV Properties/end-users embedded in networks within the Indigo Power Limited_K Licence area.
Annex 7 Fixed adders for Supplier of Last Resort and Eligible Bad Debt pass-through costs | Annex 7 contains the fixed adders to recover Supplier of Last Resort and Eligible Bad Debt pass-through costs. The Excess Supplier of Last Resort fixed adder relates to an increase to previously published charges only.
Nodal prices | Contains the underlying [nodal/network group] costs used to calculate the current EDCM charges.
Residual Charging Bandings | Contains the four Residual charging band allocation for Customers
Charge calculator | Charge calculator is a tool to help you estimate your distribution charges using current consumption data and forecast consumption data.
Notes to users of this spreadsheet
Please use this spreadsheet with reference to the LC14 use of system charging statement.
Notes to DNOs populating this spreadsheet
DNOs must endeavour to maintain consistency in the structure of this spreadsheet. Any changes to the structure must be noted in the 'Notes to users of this spreadsheet'
The drop down list on the charge calculator can be expanded by unprotecting the charge calculator sheet and selecting 'data', 'data validation...' and then expanding the 'source' data range. The sheet can then be protected.

## Annex 1 LV, HV and UMS charges
Back to Overview | 'DNOs paste value cells A15:J47 from CDCM 3701 into cells A14:J46
Indigo Power Limited_K - Effective from 1 April 2027 - Final LV and HV charges
Time Bands for LV and HV Designated Properties | [5 empty] | Time Bands for Unmetered Properties
Time periods | Red Time Band | Amber Time Band |  | Green Time Band |  |  |  | Black Time Band | Yellow Time Band | Green Time Band
Monday to Friday | 17:00 to 19:30 | 07:30 to 17:00 19:30 to 22:00 |  | 00:00 to 07:30 22:00 to 24:00 |  | Monday to Friday Nov to Feb (excluding 22nd Dec to 4th Jan inclusive) |  | 17:00 to 19:30 | 07:30 to 17:00 19:30 to 22:00 | 00:00 to 07:30 22:00 to 24:00
Weekends |  | 12:00 to 13:00 16:00 to 21:00 |  | 00:00 to 12:00 13:00 to 16:00 21:00 to 24:00 |  | Monday to Friday Mar to Oct (plus 22nd Dec to 4th Jan inclusive) |  |  | 07:30 to 22:00 | 00:00 to 07:30 22:00 to 24:00
Notes | All the above times are in UK Clock time |  |  |  |  | Weekends |  |  | 12:00 to 13:00 16:00 to 21:00 | 00:00 to 12:00 13:00 to 16:00 21:00 to 24:00
[6 empty] | Notes |  | All the above times are in UK Clock time
Tariff name | Open LLFCs/DUoS Tariff IDs | PCs | Red/black unit charge p/kWh | Amber/yellow unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded capacity charge p/kVA/day | Reactive power charge p/kVArh | Closed LLFCs
Domestic Aggregated with Residual | K0A, K0C,K3A, K3C,K6A, K6C | 0, 1, 2 | 19.172 | 1.769 | 0.344 | 16.23 | 0 | 0 | 0
Domestic Aggregated (Related MPAN) | K0B, K0D,K3B, K3D,K6B, K6D | 2 | 19.172 | 1.769 | 0.344 | 0 | 0 | 0 | 0
Non-Domestic Aggregated No Residual | K0E,K3E,K6E | 0, 3, 4, 5-8 | 19.843 | 1.831 | 0.356 | 16.35 | 0 | 0 | 0
Non-Domestic Aggregated Band 1 | K1A,K4A,K7A | 0, 3, 4, 5-8 | 19.843 | 1.831 | 0.356 | 22.49 | 0 | 0 | 0
Non-Domestic Aggregated Band 2 | K1B,K4B,K7B | 0, 3, 4, 5-8 | 19.843 | 1.831 | 0.356 | 33.37 | 0 | 0 | 0
Non-Domestic Aggregated Band 3 | K1C,K4C,K7C | 0, 3, 4, 5-8 | 19.843 | 1.831 | 0.356 | 52.17 | 0 | 0 | 0
Non-Domestic Aggregated Band 4 | K1D,K4D,K7D | 0, 3, 4, 5-8 | 19.843 | 1.831 | 0.356 | 108.73 | 0 | 0 | 0
Non-Domestic Aggregated (related MPAN) | K0L,K3L,K6L | 4 | 19.843 | 1.831 | 0.356 | 0 | 0 | 0 | 0
LV Site Specific No Residual | K0F,K3F,K6F | 0 | 12.754 | 1.111 | 0.232 | 18.62 | 11.06 | 11.06 | 0.309
LV Site Specific Band 1 | K2A,K5A,K8A | 0 | 12.754 | 1.111 | 0.232 | 178.79 | 11.06 | 11.06 | 0.309
LV Site Specific Band 2 | K2B,K5B,K8B | 0 | 12.754 | 1.111 | 0.232 | 326.94 | 11.06 | 11.06 | 0.309
LV Site Specific Band 3 | K2C,K5C,K8C | 0 | 12.754 | 1.111 | 0.232 | 539.01 | 11.06 | 11.06 | 0.309
LV Site Specific Band 4 | K2D,K5D,K8D | 0 | 12.754 | 1.111 | 0.232 | 1243.1 | 11.06 | 11.06 | 0.309
LV Sub Site Specific No Residual | K5W,K8W | 0 | 8.276 | 0.607 | 0.157 | 14.54 | 10.38 | 10.38 | 0.188
LV Sub Site Specific Band 1 | K5E,K8E | 0 | 8.276 | 0.607 | 0.157 | 174.7 | 10.38 | 10.38 | 0.188
LV Sub Site Specific Band 2 | K5F,K8F | 0 | 8.276 | 0.607 | 0.157 | 322.85 | 10.38 | 10.38 | 0.188
LV Sub Site Specific Band 3 | K5G,K8G | 0 | 8.276 | 0.607 | 0.157 | 534.92 | 10.38 | 10.38 | 0.188
LV Sub Site Specific Band 4 | K5H,K8H | 0 | 8.276 | 0.607 | 0.157 | 1239.01 | 10.38 | 10.38 | 0.188
HV Site Specific No Residual | K3G,K6G | 0 | 5.501 | 0.368 | 0.104 | 134.2 | 10.74 | 10.74 | 0.119
HV Site Specific Band 1 | K5J,K8J | 0 | 5.501 | 0.368 | 0.104 | 1270.02 | 10.74 | 10.74 | 0.119
HV Site Specific Band 2 | K5K,K8K | 0 | 5.501 | 0.368 | 0.104 | 3093.63 | 10.74 | 10.74 | 0.119
HV Site Specific Band 3 | K5L,K8L | 0 | 5.501 | 0.368 | 0.104 | 5669.1 | 10.74 | 10.74 | 0.119
HV Site Specific Band 4 | K5M,K8M | 0 | 5.501 | 0.368 | 0.104 | 13094.04 | 10.74 | 10.74 | 0.119
Unmetered Supplies | K0U, K0V,K3U,K3V,K6U, K6V | 0, 1 or 8 | 62.704 | 3.825 | 2.348 | 0 | 0 | 0 | 0
LV Generation Aggregated | KM1, KM2,KR1, KR2,KV1, KV2 | 0 | -12.614 | -1.164 | -0.226 | 0 | 0 | 0 | 0
LV Sub Generation Aggregated | KR6, KR7, KV7 | 0 | -10.955 | -0.978 | -0.198 | 0 | 0 | 0 | 0
LV Generation Site Specific | KM3,KR3,KV3 | 0 | -12.614 | -1.164 | -0.226 | 0 | 0 | 0 | 0.376
LV Generation Site Specific no RP charge |  | 0 | -12.614 | -1.164 | -0.226 | 0 | 0 | 0 | 0
LV Sub Generation Site Specific |  | 0 | -10.955 | -0.978 | -0.198 | 0 | 0 | 0 | 0.281
LV Sub Generation Site Specific no RP charge |  | 0 | -10.955 | -0.978 | -0.198 | 0 | 0 | 0 | 0
HV Generation Site Specific | KR4,KV4 | 0 | -6.536 | -0.479 | -0.124 | 83.99 | 0 | 0 | 0.239
HV Generation Site Specific no RP charge |  | 0 | -6.536 | -0.479 | -0.124 | 83.99 | 0 | 0 | 0

## Annex 2 EHV charges
Back to Overview |  | Copy EDCM table 5001 range starting B101 and paste into G11. Extend or reduce print area as required. |  |  | Note: The list of MPANs / MSIDs provided may be incomplete; the DNO reserves the right to apply the listed charges to any other MPANs / MSIDs associated with the site.
Indigo Power Limited_K - Effective from 1 April 2027 - Final EDCM charges
Time Periods for Designated EHV Properties
Time periods |  |  | Super Red Time Band
Monday to Friday Nov to Feb (excluding 22nd Dec to 4th Jan inclusive) |  |  | 17:00 - 19:30
Notes |  |  | All the above times are in UK Clock time
Import Unique Identifier | LLFC | Import MPANs/MSIDs | Export Unique Identifier | LLFC | Export MPANs/MSIDs | Name | Residual Charging Band | Import Super Red unit charge (p/kWh) | Import fixed charge (p/day) | Import capacity charge (p/kVA/day) | Import exceeded capacity charge (p/kVA/day) | Export Super Red unit charge (p/kWh) | Export fixed charge (p/day) | Export capacity charge (p/kVA/day) | Export exceeded capacity charge (p/kVA/day)

## Annex 2a Import
Note: The list of MPANs / MSIDs provided may be incomplete; the DNO reserves the right to apply the listed charges to any other MPANs / MSIDs associated with the site. Note: This table is automatically populated based on the content of the tab entitled 'Annex 2 EHV Charges'. The timebands are as shown in Annex 2.
Indigo Power Limited_K - Effective from 1 April 2027 - Final EDCM import charges
Import Unique Identifier | LLFC | Import MPANs/MSIDs | Name | Import Super Red unit charge (p/kWh) | Import fixed charge (p/day) | Import capacity charge (p/kVA/day) | Import exceeded capacity charge (p/kVA/day)

## Annex 2b Export
Note: The list of MPANs / MSIDs provided may be incomplete; the DNO reserves the right to apply the listed charges to any other MPANs / MSIDs associated with the site. Note: This table is automatically populated based on the content of the tab entitled 'Annex 2 EHV Charges'. The timebands are as shown in Annex 2.
Indigo Power Limited_K - Effective from 1 April 2027 - Final EDCM export charges
Export Unique Identifier | LLFC | Export MPANs/MSIDs | Name | Export Super Red unit charge (p/kWh) | Export fixed charge (p/day) | Export capacity charge (p/kVA/day) | Export exceeded capacity charge (p/kVA/day)

## Annex 3 Preserved charges
Back to Overview
Indigo Power Limited_K - Effective from 1 April 2027 - Final LV and HV tariffs
Supercustomer preserved charges/additional LLFCs
| Closed LLFCs | PCs | Red/black unit charge p/kWh | Amber/yellow unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day
Notes: | [Add DNO specific notes relevant to charges]
Site Specific preserved charges/additional LLFCs
| Closed LLFCs | PCs | Red/black unit charge p/kWh | Amber/yellow unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded capacity charge p/kVA/day | Reactive power charge p/kVArh
0
Notes: | Time periods
[Add DNO specific notes relevant to charges]
Unit charges in the red time band apply – between [xx:xx] and [xx:xx], Monday to Friday including bank holidays.
Unit charges in the amber time band apply – between [xx:xx] and [xx:xx], Monday to Friday including bank holidays.
Unit charges in the green time band apply – between [xx:xx] and [xx:xx], Monday to Friday including bank holidays, and [xx:xx] and [xx:xx] Saturday and Sunday.
All times are UK clock-time.
[Add DNO specific notes]

## Annex 4 LDNO charges
Back to Overview | Copy from CDCM table 3701 "Tariffs!A42:I84" and paste values into A14 |  |  |  | Copy from EDCM table 6005 "LDNORev!B549:G683" and paste values into D57
Indigo Power Limited_K - Effective from 1 April 2027 - Final LDNO tariffs
Time Bands for LV and HV Designated Properties |  |  |  |  | Time Bands for Unmetered Properties
Time periods | Red Time Band | Amber Time Band | Green Time Band |  |  |  | Black Time Band | Yellow Time Band | Green Time Band
Monday to Friday | 17:00 to 19:30 | 07:30 to 17:00 19:30 to 22:00 | 00:00 to 07:30 22:00 to 24:00 |  | Monday to Friday Nov to Feb (excluding 22nd Dec to 4th Jan inclusive) |  | 17:00 to 19:30 | 07:30 to 17:00 19:30 to 22:00 | 00:00 to 07:30 22:00 to 24:00
Weekends |  | 12:00 to 13:00 16:00 to 21:00 | 00:00 to 12:00 13:00 to 16:00 21:00 to 24:00 |  | Monday to Friday Mar to Oct (plus 22nd Dec to 4th Jan inclusive) |  |  | 07:30 to 22:00 | 00:00 to 07:30 22:00 to 24:00
Notes | All the above times are in UK Clock time |  |  |  | Weekends |  |  | 12:00 to 13:00 16:00 to 21:00 | 00:00 to 12:00 13:00 to 16:00 21:00 to 24:00
[5 empty] | Notes |  | All the above times are in UK Clock time
Tariff name | Unique billing identifier | PCs | Red/black unit charge p/kWh | Amber/yellow unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded capacity charge p/kVA/day | Reactive power charge p/kVArh
LDNO LV: Domestic Aggregated with Residual | K0A, K0C | 0, 1, 2 | 12.165 | 1.122 | 0.218 | 10.3 | 0 | 0 | 0
LDNO LV: Domestic Aggregated (Related MPAN) | K0B, K0D | 2 | 12.165 | 1.122 | 0.218 | 0 | 0 | 0 | 0
LDNO LV: Non-Domestic Aggregated No Residual | K0E | 0, 3, 4, 5-8 | 12.591 | 1.162 | 0.226 | 10.37 | 0 | 0 | 0
LDNO LV: Non-Domestic Aggregated Band 1 | K1A | 0, 3, 4, 5-8 | 12.591 | 1.162 | 0.226 | 14.27 | 0 | 0 | 0
LDNO LV: Non-Domestic Aggregated Band 2 | K1B | 0, 3, 4, 5-8 | 12.591 | 1.162 | 0.226 | 21.17 | 0 | 0 | 0
LDNO LV: Non-Domestic Aggregated Band 3 | K1C | 0, 3, 4, 5-8 | 12.591 | 1.162 | 0.226 | 33.1 | 0 | 0 | 0
LDNO LV: Non-Domestic Aggregated Band 4 | K1D | 0, 3, 4, 5-8 | 12.591 | 1.162 | 0.226 | 68.99 | 0 | 0 | 0
LDNO LV: Non-Domestic Aggregated (related MPAN) | K0L | 4 | 12.591 | 1.162 | 0.226 | 0 | 0 | 0 | 0
LDNO LV: LV Site Specific No Residual | K0F | 0 | 8.093 | 0.705 | 0.147 | 11.82 | 7.02 | 7.02 | 0.196
LDNO LV: LV Site Specific Band 1 | K2A | 0 | 8.093 | 0.705 | 0.147 | 113.44 | 7.02 | 7.02 | 0.196
LDNO LV: LV Site Specific Band 2 | K2B | 0 | 8.093 | 0.705 | 0.147 | 207.45 | 7.02 | 7.02 | 0.196
LDNO LV: LV Site Specific Band 3 | K2C | 0 | 8.093 | 0.705 | 0.147 | 342.01 | 7.02 | 7.02 | 0.196
LDNO LV: LV Site Specific Band 4 | K2D | 0 | 8.093 | 0.705 | 0.147 | 788.77 | 7.02 | 7.02 | 0.196
LDNO LV: Unmetered Supplies | K0U, K0V | 0, 1 or 8 | 39.787 | 2.427 | 1.49 | 0 | 0 | 0 | 0
LDNO LV: LV Generation Aggregated | KM1, KM2 | 0 | -12.614 | -1.164 | -0.226 | 0 | 0 | 0 | 0
LDNO LV: LV Generation Site Specific | KM3 | 0 | -12.614 | -1.164 | -0.226 | 0 | 0 | 0 | 0.376
LDNO HV: Domestic Aggregated with Residual | K3A, K3C | 0, 1, 2 | 7.468 | 0.689 | 0.134 | 6.32 | 0 | 0 | 0
LDNO HV: Domestic Aggregated (Related MPAN) | K3B, K3D | 2 | 7.468 | 0.689 | 0.134 | 0 | 0 | 0 | 0
LDNO HV: Non-Domestic Aggregated No Residual | K3E | 0, 3, 4, 5-8 | 7.729 | 0.713 | 0.139 | 6.37 | 0 | 0 | 0
LDNO HV: Non-Domestic Aggregated Band 1 | K4A | 0, 3, 4, 5-8 | 7.729 | 0.713 | 0.139 | 8.76 | 0 | 0 | 0
LDNO HV: Non-Domestic Aggregated Band 2 | K4B | 0, 3, 4, 5-8 | 7.729 | 0.713 | 0.139 | 13 | 0 | 0 | 0
LDNO HV: Non-Domestic Aggregated Band 3 | K4C | 0, 3, 4, 5-8 | 7.729 | 0.713 | 0.139 | 20.32 | 0 | 0 | 0
LDNO HV: Non-Domestic Aggregated Band 4 | K4D | 0, 3, 4, 5-8 | 7.729 | 0.713 | 0.139 | 42.35 | 0 | 0 | 0
LDNO HV: Non-Domestic Aggregated (related MPAN) | K3L | 4 | 7.729 | 0.713 | 0.139 | 0 | 0 | 0 | 0
LDNO HV: LV Site Specific No Residual | K3F | 0 | 4.968 | 0.433 | 0.091 | 7.25 | 4.31 | 4.31 | 0.12
LDNO HV: LV Site Specific Band 1 | K5A | 0 | 4.968 | 0.433 | 0.091 | 69.64 | 4.31 | 4.31 | 0.12
LDNO HV: LV Site Specific Band 2 | K5B | 0 | 4.968 | 0.433 | 0.091 | 127.34 | 4.31 | 4.31 | 0.12
LDNO HV: LV Site Specific Band 3 | K5C | 0 | 4.968 | 0.433 | 0.091 | 209.95 | 4.31 | 4.31 | 0.12
LDNO HV: LV Site Specific Band 4 | K5D | 0 | 4.968 | 0.433 | 0.091 | 484.2 | 4.31 | 4.31 | 0.12
LDNO HV: LV Sub Site Specific No Residual | K5W | 0 | 5.246 | 0.385 | 0.1 | 9.21 | 6.58 | 6.58 | 0.119
LDNO HV: LV Sub Site Specific Band 1 | K5E | 0 | 5.246 | 0.385 | 0.1 | 110.74 | 6.58 | 6.58 | 0.119
LDNO HV: LV Sub Site Specific Band 2 | K5F | 0 | 5.246 | 0.385 | 0.1 | 204.65 | 6.58 | 6.58 | 0.119
LDNO HV: LV Sub Site Specific Band 3 | K5G | 0 | 5.246 | 0.385 | 0.1 | 339.08 | 6.58 | 6.58 | 0.119
LDNO HV: LV Sub Site Specific Band 4 | K5H | 0 | 5.246 | 0.385 | 0.1 | 785.4 | 6.58 | 6.58 | 0.119
LDNO HV: HV Site Specific No Residual | K3G | 0 | 4.216 | 0.282 | 0.079 | 102.86 | 8.23 | 8.23 | 0.091
LDNO HV: HV Site Specific Band 1 | K5J | 0 | 4.216 | 0.282 | 0.079 | 973.36 | 8.23 | 8.23 | 0.091
LDNO HV: HV Site Specific Band 2 | K5K | 0 | 4.216 | 0.282 | 0.079 | 2371.02 | 8.23 | 8.23 | 0.091
LDNO HV: HV Site Specific Band 3 | K5L | 0 | 4.216 | 0.282 | 0.079 | 4344.9 | 8.23 | 8.23 | 0.091
LDNO HV: HV Site Specific Band 4 | K5M | 0 | 4.216 | 0.282 | 0.079 | 10035.52 | 8.23 | 8.23 | 0.091
LDNO HV: Unmetered Supplies | K3U,K3V | 0, 1 or 8 | 24.424 | 1.49 | 0.914 | 0 | 0 | 0 | 0
LDNO HV: LV Generation Aggregated | KR1, KR2 | 0 | -12.614 | -1.164 | -0.226 | 0 | 0 | 0 | 0
LDNO HV: LV Sub Generation Aggregated | KR6, KR7 | 0 | -10.955 | -0.978 | -0.198 | 0 | 0 | 0 | 0
LDNO HV: LV Generation Site Specific | KR3 | 0 | -12.614 | -1.164 | -0.226 | 0 | 0 | 0 | 0.376
LDNO HV: LV Sub Generation Site Specific |  | 0 | -10.955 | -0.978 | -0.198 | 0 | 0 | 0 | 0.281
LDNO HV: HV Generation Site Specific | KR4 | 0 | -6.536 | -0.479 | -0.124 | 0 | 0 | 0 | 0.239
LDNO HVplus: Domestic Aggregated with Residual |  | 0, 1, 2 | 4.698 | 0.433 | 0.084 | 3.98 | 0 | 0 | 0
LDNO HVplus: Domestic Aggregated (Related MPAN) |  | 2 | 4.698 | 0.433 | 0.084 | 0 | 0 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated No Residual |  | 0, 3, 4, 5-8 | 4.862 | 0.449 | 0.087 | 4.01 | 0 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated Band 1 |  | 0, 3, 4, 5-8 | 4.862 | 0.449 | 0.087 | 5.51 | 0 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated Band 2 |  | 0, 3, 4, 5-8 | 4.862 | 0.449 | 0.087 | 8.18 | 0 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated Band 3 |  | 0, 3, 4, 5-8 | 4.862 | 0.449 | 0.087 | 12.78 | 0 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated Band 4 |  | 0, 3, 4, 5-8 | 4.862 | 0.449 | 0.087 | 26.64 | 0 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated (related MPAN) |  | 4 | 4.862 | 0.449 | 0.087 | 0 | 0 | 0 | 0
LDNO HVplus: LV Site Specific No Residual |  | 0 | 3.125 | 0.272 | 0.057 | 4.56 | 2.71 | 2.71 | 0.076
LDNO HVplus: LV Site Specific Band 1 |  | 0 | 3.125 | 0.272 | 0.057 | 43.81 | 2.71 | 2.71 | 0.076
LDNO HVplus: LV Site Specific Band 2 |  | 0 | 3.125 | 0.272 | 0.057 | 80.11 | 2.71 | 2.71 | 0.076
LDNO HVplus: LV Site Specific Band 3 |  | 0 | 3.125 | 0.272 | 0.057 | 132.07 | 2.71 | 2.71 | 0.076
LDNO HVplus: LV Site Specific Band 4 |  | 0 | 3.125 | 0.272 | 0.057 | 304.6 | 2.71 | 2.71 | 0.076
LDNO HVplus: LV Sub Site Specific No Residual |  | 0 | 3.215 | 0.236 | 0.061 | 5.65 | 4.03 | 4.03 | 0.073
LDNO HVplus: LV Sub Site Specific Band 1 |  | 0 | 3.215 | 0.236 | 0.061 | 67.87 | 4.03 | 4.03 | 0.073
LDNO HVplus: LV Sub Site Specific Band 2 |  | 0 | 3.215 | 0.236 | 0.061 | 125.43 | 4.03 | 4.03 | 0.073
LDNO HVplus: LV Sub Site Specific Band 3 |  | 0 | 3.215 | 0.236 | 0.061 | 207.81 | 4.03 | 4.03 | 0.073
LDNO HVplus: LV Sub Site Specific Band 4 |  | 0 | 3.215 | 0.236 | 0.061 | 481.35 | 4.03 | 4.03 | 0.073
LDNO HVplus: HV Site Specific No Residual |  | 0 | 2.536 | 0.17 | 0.048 | 61.86 | 4.95 | 4.95 | 0.055
LDNO HVplus: HV Site Specific Band 1 |  | 0 | 2.536 | 0.17 | 0.048 | 585.39 | 4.95 | 4.95 | 0.055
LDNO HVplus: HV Site Specific Band 2 |  | 0 | 2.536 | 0.17 | 0.048 | 1425.95 | 4.95 | 4.95 | 0.055
LDNO HVplus: HV Site Specific Band 3 |  | 0 | 2.536 | 0.17 | 0.048 | 2613.06 | 4.95 | 4.95 | 0.055
LDNO HVplus: HV Site Specific Band 4 |  | 0 | 2.536 | 0.17 | 0.048 | 6035.45 | 4.95 | 4.95 | 0.055
LDNO HVplus: Unmetered Supplies |  | 0, 1 or 8 | 15.364 | 0.937 | 0.575 | 0 | 0 | 0 | 0
LDNO HVplus: LV Generation Aggregated |  | 0 | -4.9 | -0.452 | -0.088 | 0 | 0 | 0 | 0
LDNO HVplus: LV Sub Generation Aggregated |  | 0 | -5.05 | -0.451 | -0.091 | 0 | 0 | 0 | 0
LDNO HVplus: LV Generation Site Specific |  | 0 | -4.9 | -0.452 | -0.088 | 0 | 0 | 0 | 0.146
LDNO HVplus: LV Sub Generation Site Specific |  | 0 | -5.05 | -0.451 | -0.091 | 0 | 0 | 0 | 0.129
LDNO HVplus: HV Generation Site Specific |  | 0 | -6.536 | -0.479 | -0.124 | 83.99 | 0 | 0 | 0.239
LDNO EHV: Domestic Aggregated with Residual | K6A, K6C | 0, 1, 2 | 3.75 | 0.346 | 0.067 | 3.17 | 0 | 0 | 0
LDNO EHV: Domestic Aggregated (Related MPAN) | K6B, K6D | 2 | 3.75 | 0.346 | 0.067 | 0 | 0 | 0 | 0
LDNO EHV: Non-Domestic Aggregated No Residual | K6E | 0, 3, 4, 5-8 | 3.881 | 0.358 | 0.07 | 3.2 | 0 | 0 | 0
LDNO EHV: Non-Domestic Aggregated Band 1 | K7A | 0, 3, 4, 5-8 | 3.881 | 0.358 | 0.07 | 4.4 | 0 | 0 | 0
LDNO EHV: Non-Domestic Aggregated Band 2 | K7B | 0, 3, 4, 5-8 | 3.881 | 0.358 | 0.07 | 6.53 | 0 | 0 | 0
LDNO EHV: Non-Domestic Aggregated Band 3 | K7C | 0, 3, 4, 5-8 | 3.881 | 0.358 | 0.07 | 10.2 | 0 | 0 | 0
LDNO EHV: Non-Domestic Aggregated Band 4 | K7D | 0, 3, 4, 5-8 | 3.881 | 0.358 | 0.07 | 21.27 | 0 | 0 | 0
LDNO EHV: Non-Domestic Aggregated (related MPAN) | K6L | 4 | 3.881 | 0.358 | 0.07 | 0 | 0 | 0 | 0
LDNO EHV: LV Site Specific No Residual | K6F | 0 | 2.495 | 0.217 | 0.045 | 3.64 | 2.16 | 2.16 | 0.06
LDNO EHV: LV Site Specific Band 1 | K8A | 0 | 2.495 | 0.217 | 0.045 | 34.97 | 2.16 | 2.16 | 0.06
LDNO EHV: LV Site Specific Band 2 | K8B | 0 | 2.495 | 0.217 | 0.045 | 63.95 | 2.16 | 2.16 | 0.06
LDNO EHV: LV Site Specific Band 3 | K8C | 0 | 2.495 | 0.217 | 0.045 | 105.43 | 2.16 | 2.16 | 0.06
LDNO EHV: LV Site Specific Band 4 | K8D | 0 | 2.495 | 0.217 | 0.045 | 243.14 | 2.16 | 2.16 | 0.06
LDNO EHV: LV Sub Site Specific No Residual | K8W | 0 | 2.567 | 0.188 | 0.049 | 4.51 | 3.22 | 3.22 | 0.058
LDNO EHV: LV Sub Site Specific Band 1 | K8E | 0 | 2.567 | 0.188 | 0.049 | 54.18 | 3.22 | 3.22 | 0.058
LDNO EHV: LV Sub Site Specific Band 2 | K8F | 0 | 2.567 | 0.188 | 0.049 | 100.12 | 3.22 | 3.22 | 0.058
LDNO EHV: LV Sub Site Specific Band 3 | K8G | 0 | 2.567 | 0.188 | 0.049 | 165.89 | 3.22 | 3.22 | 0.058
LDNO EHV: LV Sub Site Specific Band 4 | K8H | 0 | 2.567 | 0.188 | 0.049 | 384.23 | 3.22 | 3.22 | 0.058
LDNO EHV: HV Site Specific No Residual | K6G | 0 | 2.024 | 0.136 | 0.038 | 49.38 | 3.95 | 3.95 | 0.044
LDNO EHV: HV Site Specific Band 1 | K8J | 0 | 2.024 | 0.136 | 0.038 | 467.28 | 3.95 | 3.95 | 0.044
LDNO EHV: HV Site Specific Band 2 | K8K | 0 | 2.024 | 0.136 | 0.038 | 1138.25 | 3.95 | 3.95 | 0.044
LDNO EHV: HV Site Specific Band 3 | K8L | 0 | 2.024 | 0.136 | 0.038 | 2085.85 | 3.95 | 3.95 | 0.044
LDNO EHV: HV Site Specific Band 4 | K8M | 0 | 2.024 | 0.136 | 0.038 | 4817.74 | 3.95 | 3.95 | 0.044
LDNO EHV: Unmetered Supplies | K6U, K6V | 0, 1 or 8 | 12.264 | 0.748 | 0.459 | 0 | 0 | 0 | 0
LDNO EHV: LV Generation Aggregated | KV1, KV2 | 0 | -3.912 | -0.361 | -0.07 | 0 | 0 | 0 | 0
LDNO EHV: LV Sub Generation Aggregated | KV7 | 0 | -4.031 | -0.36 | -0.073 | 0 | 0 | 0 | 0
LDNO EHV: LV Generation Site Specific | KV3 | 0 | -3.912 | -0.361 | -0.07 | 0 | 0 | 0 | 0.116
LDNO EHV: LV Sub Generation Site Specific |  | 0 | -4.031 | -0.36 | -0.073 | 0 | 0 | 0 | 0.103
LDNO EHV: HV Generation Site Specific | KV4 | 0 | -5.217 | -0.382 | -0.099 | 67.04 | 0 | 0 | 0.191
LDNO 132kV/EHV: Domestic Aggregated with Residual |  | 0, 1, 2 | 3.145 | 0.29 | 0.056 | 2.66 | 0 | 0 | 0
LDNO 132kV/EHV: Domestic Aggregated (Related MPAN) |  | 2 | 3.145 | 0.29 | 0.056 | 0 | 0 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated No Residual |  | 0, 3, 4, 5-8 | 3.255 | 0.3 | 0.058 | 2.68 | 0 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated Band 1 |  | 0, 3, 4, 5-8 | 3.255 | 0.3 | 0.058 | 3.69 | 0 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated Band 2 |  | 0, 3, 4, 5-8 | 3.255 | 0.3 | 0.058 | 5.47 | 0 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated Band 3 |  | 0, 3, 4, 5-8 | 3.255 | 0.3 | 0.058 | 8.56 | 0 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated Band 4 |  | 0, 3, 4, 5-8 | 3.255 | 0.3 | 0.058 | 17.84 | 0 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated (related MPAN) |  | 4 | 3.255 | 0.3 | 0.058 | 0 | 0 | 0 | 0
LDNO 132kV/EHV: LV Site Specific No Residual |  | 0 | 2.092 | 0.182 | 0.038 | 3.05 | 1.81 | 1.81 | 0.051
LDNO 132kV/EHV: LV Site Specific Band 1 |  | 0 | 2.092 | 0.182 | 0.038 | 29.33 | 1.81 | 1.81 | 0.051
LDNO 132kV/EHV: LV Site Specific Band 2 |  | 0 | 2.092 | 0.182 | 0.038 | 53.63 | 1.81 | 1.81 | 0.051
LDNO 132kV/EHV: LV Site Specific Band 3 |  | 0 | 2.092 | 0.182 | 0.038 | 88.42 | 1.81 | 1.81 | 0.051
LDNO 132kV/EHV: LV Site Specific Band 4 |  | 0 | 2.092 | 0.182 | 0.038 | 203.92 | 1.81 | 1.81 | 0.051
LDNO 132kV/EHV: LV Sub Site Specific No Residual |  | 0 | 2.153 | 0.158 | 0.041 | 3.78 | 2.7 | 2.7 | 0.049
LDNO 132kV/EHV: LV Sub Site Specific Band 1 |  | 0 | 2.153 | 0.158 | 0.041 | 45.44 | 2.7 | 2.7 | 0.049
LDNO 132kV/EHV: LV Sub Site Specific Band 2 |  | 0 | 2.153 | 0.158 | 0.041 | 83.97 | 2.7 | 2.7 | 0.049
LDNO 132kV/EHV: LV Sub Site Specific Band 3 |  | 0 | 2.153 | 0.158 | 0.041 | 139.13 | 2.7 | 2.7 | 0.049
LDNO 132kV/EHV: LV Sub Site Specific Band 4 |  | 0 | 2.153 | 0.158 | 0.041 | 322.26 | 2.7 | 2.7 | 0.049
LDNO 132kV/EHV: HV Site Specific No Residual |  | 0 | 1.698 | 0.114 | 0.032 | 41.41 | 3.32 | 3.32 | 0.037
LDNO 132kV/EHV: HV Site Specific Band 1 |  | 0 | 1.698 | 0.114 | 0.032 | 391.91 | 3.32 | 3.32 | 0.037
LDNO 132kV/EHV: HV Site Specific Band 2 |  | 0 | 1.698 | 0.114 | 0.032 | 954.66 | 3.32 | 3.32 | 0.037
LDNO 132kV/EHV: HV Site Specific Band 3 |  | 0 | 1.698 | 0.114 | 0.032 | 1749.42 | 3.32 | 3.32 | 0.037
LDNO 132kV/EHV: HV Site Specific Band 4 |  | 0 | 1.698 | 0.114 | 0.032 | 4040.67 | 3.32 | 3.32 | 0.037
LDNO 132kV/EHV: Unmetered Supplies |  | 0, 1 or 8 | 10.286 | 0.627 | 0.385 | 0 | 0 | 0 | 0
LDNO 132kV/EHV: LV Generation Aggregated |  | 0 | -3.281 | -0.303 | -0.059 | 0 | 0 | 0 | 0
LDNO 132kV/EHV: LV Sub Generation Aggregated |  | 0 | -3.381 | -0.302 | -0.061 | 0 | 0 | 0 | 0
LDNO 132kV/EHV: LV Generation Site Specific |  | 0 | -3.281 | -0.303 | -0.059 | 0 | 0 | 0 | 0.098
LDNO 132kV/EHV: LV Sub Generation Site Specific |  | 0 | -3.381 | -0.302 | -0.061 | 0 | 0 | 0 | 0.087
LDNO 132kV/EHV: HV Generation Site Specific |  | 0 | -4.375 | -0.321 | -0.083 | 56.23 | 0 | 0 | 0.16
LDNO 132kV: Domestic Aggregated with Residual |  | 0, 1, 2 | 1.786 | 0.165 | 0.032 | 1.51 | 0 | 0 | 0
LDNO 132kV: Domestic Aggregated (Related MPAN) |  | 2 | 1.786 | 0.165 | 0.032 | 0 | 0 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated No Residual |  | 0, 3, 4, 5-8 | 1.849 | 0.171 | 0.033 | 1.52 | 0 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated Band 1 |  | 0, 3, 4, 5-8 | 1.849 | 0.171 | 0.033 | 2.1 | 0 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated Band 2 |  | 0, 3, 4, 5-8 | 1.849 | 0.171 | 0.033 | 3.11 | 0 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated Band 3 |  | 0, 3, 4, 5-8 | 1.849 | 0.171 | 0.033 | 4.86 | 0 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated Band 4 |  | 0, 3, 4, 5-8 | 1.849 | 0.171 | 0.033 | 10.13 | 0 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated (related MPAN) |  | 4 | 1.849 | 0.171 | 0.033 | 0 | 0 | 0 | 0
LDNO 132kV: LV Site Specific No Residual |  | 0 | 1.188 | 0.104 | 0.022 | 1.74 | 1.03 | 1.03 | 0.029
LDNO 132kV: LV Site Specific Band 1 |  | 0 | 1.188 | 0.104 | 0.022 | 16.66 | 1.03 | 1.03 | 0.029
LDNO 132kV: LV Site Specific Band 2 |  | 0 | 1.188 | 0.104 | 0.022 | 30.46 | 1.03 | 1.03 | 0.029
LDNO 132kV: LV Site Specific Band 3 |  | 0 | 1.188 | 0.104 | 0.022 | 50.22 | 1.03 | 1.03 | 0.029
LDNO 132kV: LV Site Specific Band 4 |  | 0 | 1.188 | 0.104 | 0.022 | 115.82 | 1.03 | 1.03 | 0.029
LDNO 132kV: LV Sub Site Specific No Residual |  | 0 | 1.223 | 0.09 | 0.023 | 2.15 | 1.53 | 1.53 | 0.028
LDNO 132kV: LV Sub Site Specific Band 1 |  | 0 | 1.223 | 0.09 | 0.023 | 25.81 | 1.53 | 1.53 | 0.028
LDNO 132kV: LV Sub Site Specific Band 2 |  | 0 | 1.223 | 0.09 | 0.023 | 47.69 | 1.53 | 1.53 | 0.028
LDNO 132kV: LV Sub Site Specific Band 3 |  | 0 | 1.223 | 0.09 | 0.023 | 79.02 | 1.53 | 1.53 | 0.028
LDNO 132kV: LV Sub Site Specific Band 4 |  | 0 | 1.223 | 0.09 | 0.023 | 183.03 | 1.53 | 1.53 | 0.028
LDNO 132kV: HV Site Specific No Residual |  | 0 | 0.964 | 0.065 | 0.018 | 23.52 | 1.88 | 1.88 | 0.021
LDNO 132kV: HV Site Specific Band 1 |  | 0 | 0.964 | 0.065 | 0.018 | 222.59 | 1.88 | 1.88 | 0.021
LDNO 132kV: HV Site Specific Band 2 |  | 0 | 0.964 | 0.065 | 0.018 | 542.2 | 1.88 | 1.88 | 0.021
LDNO 132kV: HV Site Specific Band 3 |  | 0 | 0.964 | 0.065 | 0.018 | 993.59 | 1.88 | 1.88 | 0.021
LDNO 132kV: HV Site Specific Band 4 |  | 0 | 0.964 | 0.065 | 0.018 | 2294.92 | 1.88 | 1.88 | 0.021
LDNO 132kV: Unmetered Supplies |  | 0, 1 or 8 | 5.842 | 0.356 | 0.219 | 0 | 0 | 0 | 0
LDNO 132kV: LV Generation Aggregated |  | 0 | -1.863 | -0.172 | -0.033 | 0 | 0 | 0 | 0
LDNO 132kV: LV Sub Generation Aggregated |  | 0 | -1.92 | -0.171 | -0.035 | 0 | 0 | 0 | 0
LDNO 132kV: LV Generation Site Specific |  | 0 | -1.863 | -0.172 | -0.033 | 0 | 0 | 0 | 0.055
LDNO 132kV: LV Sub Generation Site Specific |  | 0 | -1.92 | -0.171 | -0.035 | 0 | 0 | 0 | 0.049
LDNO 132kV: HV Generation Site Specific |  | 0 | -2.485 | -0.182 | -0.047 | 31.94 | 0 | 0 | 0.091
LDNO 0000: Domestic Aggregated with Residual |  | 0, 1, 2 | 0.532 | 0.049 | 0.01 | 0.45 | 0 | 0 | 0
LDNO 0000: Domestic Aggregated (Related MPAN) |  | 2 | 0.532 | 0.049 | 0.01 | 0 | 0 | 0 | 0
LDNO 0000: Non-Domestic Aggregated No Residual |  | 0, 3, 4, 5-8 | 0.55 | 0.051 | 0.01 | 0.45 | 0 | 0 | 0
LDNO 0000: Non-Domestic Aggregated Band 1 |  | 0, 3, 4, 5-8 | 0.55 | 0.051 | 0.01 | 0.62 | 0 | 0 | 0
LDNO 0000: Non-Domestic Aggregated Band 2 |  | 0, 3, 4, 5-8 | 0.55 | 0.051 | 0.01 | 0.93 | 0 | 0 | 0
LDNO 0000: Non-Domestic Aggregated Band 3 |  | 0, 3, 4, 5-8 | 0.55 | 0.051 | 0.01 | 1.45 | 0 | 0 | 0
LDNO 0000: Non-Domestic Aggregated Band 4 |  | 0, 3, 4, 5-8 | 0.55 | 0.051 | 0.01 | 3.01 | 0 | 0 | 0
LDNO 0000: Non-Domestic Aggregated (related MPAN) |  | 4 | 0.55 | 0.051 | 0.01 | 0 | 0 | 0 | 0
LDNO 0000: LV Site Specific No Residual |  | 0 | 0.354 | 0.031 | 0.006 | 0.52 | 0.31 | 0.31 | 0.009
LDNO 0000: LV Site Specific Band 1 |  | 0 | 0.354 | 0.031 | 0.006 | 4.96 | 0.31 | 0.31 | 0.009
LDNO 0000: LV Site Specific Band 2 |  | 0 | 0.354 | 0.031 | 0.006 | 9.06 | 0.31 | 0.31 | 0.009
LDNO 0000: LV Site Specific Band 3 |  | 0 | 0.354 | 0.031 | 0.006 | 14.94 | 0.31 | 0.31 | 0.009
LDNO 0000: LV Site Specific Band 4 |  | 0 | 0.354 | 0.031 | 0.006 | 34.47 | 0.31 | 0.31 | 0.009
LDNO 0000: LV Sub Site Specific No Residual |  | 0 | 0.364 | 0.027 | 0.007 | 0.64 | 0.46 | 0.46 | 0.008
LDNO 0000: LV Sub Site Specific Band 1 |  | 0 | 0.364 | 0.027 | 0.007 | 7.68 | 0.46 | 0.46 | 0.008
LDNO 0000: LV Sub Site Specific Band 2 |  | 0 | 0.364 | 0.027 | 0.007 | 14.19 | 0.46 | 0.46 | 0.008
LDNO 0000: LV Sub Site Specific Band 3 |  | 0 | 0.364 | 0.027 | 0.007 | 23.52 | 0.46 | 0.46 | 0.008
LDNO 0000: LV Sub Site Specific Band 4 |  | 0 | 0.364 | 0.027 | 0.007 | 54.47 | 0.46 | 0.46 | 0.008
LDNO 0000: HV Site Specific No Residual |  | 0 | 0.287 | 0.019 | 0.005 | 7 | 0.56 | 0.56 | 0.006
LDNO 0000: HV Site Specific Band 1 |  | 0 | 0.287 | 0.019 | 0.005 | 66.24 | 0.56 | 0.56 | 0.006
LDNO 0000: HV Site Specific Band 2 |  | 0 | 0.287 | 0.019 | 0.005 | 161.35 | 0.56 | 0.56 | 0.006
LDNO 0000: HV Site Specific Band 3 |  | 0 | 0.287 | 0.019 | 0.005 | 295.68 | 0.56 | 0.56 | 0.006
LDNO 0000: HV Site Specific Band 4 |  | 0 | 0.287 | 0.019 | 0.005 | 682.95 | 0.56 | 0.56 | 0.006
LDNO 0000: Unmetered Supplies |  | 0, 1 or 8 | 1.739 | 0.106 | 0.065 | 0 | 0 | 0 | 0
LDNO 0000: LV Generation Aggregated |  | 0 | -0.555 | -0.051 | -0.01 | 0 | 0 | 0 | 0
LDNO 0000: LV Sub Generation Aggregated |  | 0 | -0.571 | -0.051 | -0.01 | 0 | 0 | 0 | 0
LDNO 0000: LV Generation Site Specific |  | 0 | -0.555 | -0.051 | -0.01 | 0 | 0 | 0 | 0.017
LDNO 0000: LV Sub Generation Site Specific |  | 0 | -0.571 | -0.051 | -0.01 | 0 | 0 | 0 | 0.015
LDNO 0000: HV Generation Site Specific |  | 0 | -0.74 | -0.054 | -0.014 | 9.5 | 0 | 0 | 0.027

## Annex 5 LLFs
Back to Overview
This table has intentionally been left blank. The line loss factors that are approved by the BSC Panel for the applicable year and consequently published on the Elexon website will take precedence and be used in Settlement. This annex will be re-published once these values are available.
Indigo Power Limited_K - Illustrative LLFs for year beginning 1 April 2027
Time periods | Period 1 | Period 2 | Period 3 | Period 4
| Peak | Winter | Night | Other
Monday to Friday Mar to Oct |  |  | 00:30 - 07:30 | 00:00 - 00:30 07:30 - 24:00
Monday to Friday Nov to Feb | 16:00 – 19:00 | 07:30 – 16:00 | 00:30 - 07:30 | 00:00 - 00:30 19:00 - 24:00
Saturday and Sunday All Year |  |  | 00:30 - 07:30 | 00:00 - 00:30 07:30 - 24:00
Notes | All the above times are in UK Clock time
Generic demand and generation LLFs
Metered voltage, respective periods and associated LLFCs
Metered voltage | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
132kV connected
132/EHV connected
132/HV connected
EHV connected
High Voltage Substation
High Voltage Network |  |  |  |  | K3G,K5J,K5K,K5L,K5M,KR4,K6G,K8J,K8K,K8L,K8M,KV4
Low Voltage Substation |  |  |  |  | K5W,K5E,K5F,K5G,K5H,KR6, KR7,K8W,K8E,K8F,K8G,K8H,KV7
Low Voltage Network |  |  |  |  | K0A, K0C,K0B, K0D,K0E,K1A,K1B,K1C,K1D,K0L,K0F,K2A,K2B,K2C,K2D,K0U, K0V,KM1, KM2,KM3,K3A, K3C,K3B, K3D,K3E,K4A,K4B,K4C,K4D,K3L,K3F,K5A,K5B,K5C,K5D,K3U,K3V,KR1, KR2,KR3,K6A, K6C,K6B, K6D,K6E,K7A,K7B,K7C,K7D,K6L,K6F,K8A,K8B,K8C,K8D,K6U, K6V,KV1, KV2,KV3
EHV site specific LLFs
Demand
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Site 1
Site 2
Site 3
Site 4
Site 5
EHV site specific LLFs
Generation
Site | Period 1 | Period 2 | Period 3 | Period 4 | Associated LLFC
Site 1
Site 2
Site 3
Site 4
Site 5

## Annex 6 New or Amended EHV
Back to Overview | [6 empty] | Note: The list of MPANs/MSIDs provided may be incomplete; the DNO reserves the right to apply the listed charges to any other MPANs/MSIDs associated with the site. If sites appear in both Annex 2 and Annex 6, the charges in Annex 6 take precedence. Where an existing Designated EHV Property is modified and energised in the charging year, we may revise the EDCM charges for the modified Designated EHV Property.
Annex 6 - Charges for New or Amended Designated EHV Properties
Indigo Power Limited_K - Effective from 1 April 2027 - Final new designated EHV charges
Effective from date | Import Unique Identifier | LLFC | Import MPANs/MSIDs | Export Unique Identifier | LLFC | Export MPANs/MSIDs | Name | Import Super Red unit charge (p/kWh) | Import fixed charge (p/day) | Import capacity charge (p/kVA/day) | Import exceeded capacity charge (p/kVA/day) | Export Super Red unit charge (p/kWh) | Export fixed charge (p/day) | Export capacity charge (p/kVA/day) | Export exceeded capacity charge (p/kVA/day)
| EDCM import 1 |  |  | EDCM export 1
| EDCM import 2 |  |  | EDCM export 2
| EDCM import 3 |  |  | EDCM export 3
| EDCM import 4 |  |  | EDCM export 4
| EDCM import 5 |  |  | EDCM export 5
| EDCM import 6 |  |  | EDCM export 6
| EDCM import 7 |  |  | EDCM export 7
| EDCM import 8 |  |  | EDCM export 8
| EDCM import 9 |  |  | EDCM export 9
| EDCM import 10 |  |  | EDCM export 10
Indigo Power Limited_K - Effective from 1 April 2027 - Final new designated EHV line loss factors
Effective from date | Import Unique Identifier | LLFC | Import MPANs/MSIDs | Export Unique Identifier | LLFC | Export MPANs/MSIDs | Name | Import LLF period 1 | Import LLF period 2 | Import LLF period 3 | Import LLF period 4 | Export LLF period 1 | Export LLF period 2 | Export LLF period 3 | Export LLF period 4
| EDCM Import 1 |  |  | EDCM Export 1
| EDCM Import 2 |  |  | EDCM Export 2
| EDCM Import 3 |  |  | EDCM Export 3
| EDCM Import 4 |  |  | EDCM Export 4
| EDCM Import 5 |  |  | EDCM Export 5
| EDCM Import 6 |  |  | EDCM Export 6
| EDCM Import 7 |  |  | EDCM Export 7
| EDCM Import 8 |  |  | EDCM Export 8
| EDCM Import 9 |  |  | EDCM Export 9
| EDCM Import 10 |  |  | EDCM Export 10

## Annex 7 Pass-Through Costs
Back to Overview
Indigo Power Limited_K - Effective from 1 April 2027 - Final Supplier of Last Resort and Eligible Bad Debt Pass-Through Costs
Tariff name | Open LLFCs / LDNO unique billing identifier | PCs | Supplier of Last Resort Fixed charge adder* p/MPAN/day | Excess Supplier of Last Resort Fixed charge adder** p/MPAN/day | Eligible Bad Debt Fixed charge adder*** p/MPAN/day
Domestic Aggregated with Residual | K0A, K0C,K3A, K3C,K6A, K6C | 0, 1, 2 | 0.19795 | 0 | 0.52095
Domestic Aggregated (Related MPAN) | K0B, K0D,K3B, K3D,K6B, K6D | 2 | 0 | 0 | 0
Non-Domestic Aggregated No Residual | K0E,K3E,K6E | 0, 3, 4, 5-8 |  |  | 0.52095
Non-Domestic Aggregated Band 1 | K1A,K4A,K7A | 0, 3, 4, 5-8 |  |  | 0.52095
Non-Domestic Aggregated Band 2 | K1B,K4B,K7B | 0, 3, 4, 5-8 |  |  | 0.52095
Non-Domestic Aggregated Band 3 | K1C,K4C,K7C | 0, 3, 4, 5-8 |  |  | 0.52095
Non-Domestic Aggregated Band 4 | K1D,K4D,K7D | 0, 3, 4, 5-8 |  |  | 0.52095
Non-Domestic Aggregated (related MPAN) | K0L,K3L,K6L | 4 |  |  | 0
LV Site Specific No Residual | K0F,K3F,K6F | 0 |  |  | 0.52095
LV Site Specific Band 1 | K2A,K5A,K8A | 0 |  |  | 0.52095
LV Site Specific Band 2 | K2B,K5B,K8B | 0 |  |  | 0.52095
LV Site Specific Band 3 | K2C,K5C,K8C | 0 |  |  | 0.52095
LV Site Specific Band 4 | K2D,K5D,K8D | 0 |  |  | 0.52095
LV Sub Site Specific No Residual | K5W,K8W | 0 |  |  | 0.52095
LV Sub Site Specific Band 1 | K5E,K8E | 0 |  |  | 0.52095
LV Sub Site Specific Band 2 | K5F,K8F | 0 |  |  | 0.52095
LV Sub Site Specific Band 3 | K5G,K8G | 0 |  |  | 0.52095
LV Sub Site Specific Band 4 | K5H,K8H | 0 |  |  | 0.52095
HV Site Specific No Residual | K3G,K6G | 0 |  |  | 0.52095
HV Site Specific Band 1 | K5J,K8J | 0 |  |  | 0.52095
HV Site Specific Band 2 | K5K,K8K | 0 |  |  | 0.52095
HV Site Specific Band 3 | K5L,K8L | 0 |  |  | 0.52095
HV Site Specific Band 4 | K5M,K8M | 0 |  |  | 0.52095
Unmetered Supplies | K0U, K0V,K3U,K3V,K6U, K6V | 0, 1 or 8 |  |  | 0
LV Generation Aggregated | KM1, KM2,KR1, KR2,KV1, KV2 | 0 |  |  | 0
LV Sub Generation Aggregated | KR6, KR7, KV7 | 0 |  |  | 0
LV Generation Site Specific | KM3,KR3,KV3 | 0 |  |  | 0
LV Generation Site Specific no RP charge |  | 0 |  |  | 0
LV Sub Generation Site Specific |  | 0 |  |  | 0
LV Sub Generation Site Specific no RP charge | 0 | 0 |  |  | 0
HV Generation Site Specific | KR4,KV4 | 0 |  |  | 0
HV Generation Site Specific no RP charge |  | 0 |  |  | 0
LDNO LV: Domestic Aggregated with Residual | K0A, K0C | 0, 1, 2 | 0.19795 | 0 | 0.52095
LDNO LV: Domestic Aggregated (Related MPAN) | K0B, K0D | 2 | 0 | 0 | 0
LDNO LV: Non-Domestic Aggregated No Residual | K0E | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO LV: Non-Domestic Aggregated Band 1 | K1A | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO LV: Non-Domestic Aggregated Band 2 | K1B | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO LV: Non-Domestic Aggregated Band 3 | K1C | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO LV: Non-Domestic Aggregated Band 4 | K1D | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO LV: Non-Domestic Aggregated (related MPAN) | K0L | 4 |  |  | 0
LDNO LV: LV Site Specific No Residual | K0F | 0 |  |  | 0.52095
LDNO LV: LV Site Specific Band 1 | K2A | 0 |  |  | 0.52095
LDNO LV: LV Site Specific Band 2 | K2B | 0 |  |  | 0.52095
LDNO LV: LV Site Specific Band 3 | K2C | 0 |  |  | 0.52095
LDNO LV: LV Site Specific Band 4 | K2D | 0 |  |  | 0.52095
LDNO LV: Unmetered Supplies | K0U, K0V | 0, 1 or 8 |  |  | 0
LDNO LV: LV Generation Aggregated | KM1, KM2 | 0 |  |  | 0
LDNO LV: LV Generation Site Specific | KM3 | 0 |  |  | 0
LDNO HV: Domestic Aggregated with Residual | K3A, K3C | 0, 1, 2 | 0.19795 | 0 | 0.52095
LDNO HV: Domestic Aggregated (Related MPAN) | K3B, K3D | 2 | 0 | 0 | 0
LDNO HV: Non-Domestic Aggregated No Residual | K3E | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO HV: Non-Domestic Aggregated Band 1 | K4A | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO HV: Non-Domestic Aggregated Band 2 | K4B | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO HV: Non-Domestic Aggregated Band 3 | K4C | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO HV: Non-Domestic Aggregated Band 4 | K4D | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO HV: Non-Domestic Aggregated (related MPAN) | K3L | 4 |  |  | 0
LDNO HV: LV Site Specific No Residual | K3F | 0 |  |  | 0.52095
LDNO HV: LV Site Specific Band 1 | K5A | 0 |  |  | 0.52095
LDNO HV: LV Site Specific Band 2 | K5B | 0 |  |  | 0.52095
LDNO HV: LV Site Specific Band 3 | K5C | 0 |  |  | 0.52095
LDNO HV: LV Site Specific Band 4 | K5D | 0 |  |  | 0.52095
LDNO HV: LV Sub Site Specific No Residual | K5W | 0 |  |  | 0.52095
LDNO HV: LV Sub Site Specific Band 1 | K5E | 0 |  |  | 0.52095
LDNO HV: LV Sub Site Specific Band 2 | K5F | 0 |  |  | 0.52095
LDNO HV: LV Sub Site Specific Band 3 | K5G | 0 |  |  | 0.52095
LDNO HV: LV Sub Site Specific Band 4 | K5H | 0 |  |  | 0.52095
LDNO HV: HV Site Specific No Residual | K3G | 0 |  |  | 0.52095
LDNO HV: HV Site Specific Band 1 | K5J | 0 |  |  | 0.52095
LDNO HV: HV Site Specific Band 2 | K5K | 0 |  |  | 0.52095
LDNO HV: HV Site Specific Band 3 | K5L | 0 |  |  | 0.52095
LDNO HV: HV Site Specific Band 4 | K5M | 0 |  |  | 0.52095
LDNO HV: Unmetered Supplies | K3U,K3V | 0, 1 or 8 |  |  | 0
LDNO HV: LV Generation Aggregated | KR1, KR2 | 0 |  |  | 0
LDNO HV: LV Sub Generation Aggregated | KR6, KR7 | 0 |  |  | 0
LDNO HV: LV Generation Site Specific | KR3 | 0 |  |  | 0
LDNO HV: LV Sub Generation Site Specific | 0 | 0 |  |  | 0
LDNO HV: HV Generation Site Specific | KR4 | 0 |  |  | 0
LDNO HVplus: Domestic Aggregated with Residual |  | 0, 1, 2 | 0.19795 | 0 | 0.52095
LDNO HVplus: Domestic Aggregated (Related MPAN) |  | 2 | 0 | 0 | 0
LDNO HVplus: Non-Domestic Aggregated No Residual |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO HVplus: Non-Domestic Aggregated Band 1 |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO HVplus: Non-Domestic Aggregated Band 2 |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO HVplus: Non-Domestic Aggregated Band 3 |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO HVplus: Non-Domestic Aggregated Band 4 |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO HVplus: Non-Domestic Aggregated (related MPAN) |  | 4 |  |  | 0
LDNO HVplus: LV Site Specific No Residual |  | 0 |  |  | 0.52095
LDNO HVplus: LV Site Specific Band 1 |  | 0 |  |  | 0.52095
LDNO HVplus: LV Site Specific Band 2 |  | 0 |  |  | 0.52095
LDNO HVplus: LV Site Specific Band 3 |  | 0 |  |  | 0.52095
LDNO HVplus: LV Site Specific Band 4 |  | 0 |  |  | 0.52095
LDNO HVplus: LV Sub Site Specific No Residual |  | 0 |  |  | 0.52095
LDNO HVplus: LV Sub Site Specific Band 1 |  | 0 |  |  | 0.52095
LDNO HVplus: LV Sub Site Specific Band 2 |  | 0 |  |  | 0.52095
LDNO HVplus: LV Sub Site Specific Band 3 |  | 0 |  |  | 0.52095
LDNO HVplus: LV Sub Site Specific Band 4 |  | 0 |  |  | 0.52095
LDNO HVplus: HV Site Specific No Residual |  | 0 |  |  | 0.52095
LDNO HVplus: HV Site Specific Band 1 |  | 0 |  |  | 0.52095
LDNO HVplus: HV Site Specific Band 2 |  | 0 |  |  | 0.52095
LDNO HVplus: HV Site Specific Band 3 |  | 0 |  |  | 0.52095
LDNO HVplus: HV Site Specific Band 4 |  | 0 |  |  | 0.52095
LDNO HVplus: Unmetered Supplies |  | 0, 1 or 8 |  |  | 0
LDNO HVplus: LV Generation Aggregated |  | 0 |  |  | 0
LDNO HVplus: LV Sub Generation Aggregated |  | 0 |  |  | 0
LDNO HVplus: LV Generation Site Specific |  | 0 |  |  | 0
LDNO HVplus: LV Sub Generation Site Specific |  | 0 |  |  | 0
LDNO HVplus: HV Generation Site Specific |  | 0 |  |  | 0
LDNO EHV: Domestic Aggregated with Residual | K6A, K6C | 0, 1, 2 | 0.19795 | 0 | 0.52095
LDNO EHV: Domestic Aggregated (Related MPAN) | K6B, K6D | 2 | 0 | 0 | 0
LDNO EHV: Non-Domestic Aggregated No Residual | K6E | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO EHV: Non-Domestic Aggregated Band 1 | K7A | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO EHV: Non-Domestic Aggregated Band 2 | K7B | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO EHV: Non-Domestic Aggregated Band 3 | K7C | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO EHV: Non-Domestic Aggregated Band 4 | K7D | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO EHV: Non-Domestic Aggregated (related MPAN) | K6L | 4 |  |  | 0
LDNO EHV: LV Site Specific No Residual | K6F | 0 |  |  | 0.52095
LDNO EHV: LV Site Specific Band 1 | K8A | 0 |  |  | 0.52095
LDNO EHV: LV Site Specific Band 2 | K8B | 0 |  |  | 0.52095
LDNO EHV: LV Site Specific Band 3 | K8C | 0 |  |  | 0.52095
LDNO EHV: LV Site Specific Band 4 | K8D | 0 |  |  | 0.52095
LDNO EHV: LV Sub Site Specific No Residual | K8W | 0 |  |  | 0.52095
LDNO EHV: LV Sub Site Specific Band 1 | K8E | 0 |  |  | 0.52095
LDNO EHV: LV Sub Site Specific Band 2 | K8F | 0 |  |  | 0.52095
LDNO EHV: LV Sub Site Specific Band 3 | K8G | 0 |  |  | 0.52095
LDNO EHV: LV Sub Site Specific Band 4 | K8H | 0 |  |  | 0.52095
LDNO EHV: HV Site Specific No Residual | K6G | 0 |  |  | 0.52095
LDNO EHV: HV Site Specific Band 1 | K8J | 0 |  |  | 0.52095
LDNO EHV: HV Site Specific Band 2 | K8K | 0 |  |  | 0.52095
LDNO EHV: HV Site Specific Band 3 | K8L | 0 |  |  | 0.52095
LDNO EHV: HV Site Specific Band 4 | K8M | 0 |  |  | 0.52095
LDNO EHV: Unmetered Supplies | K6U, K6V | 0, 1 or 8 |  |  | 0
LDNO EHV: LV Generation Aggregated | KV1, KV2 | 0 |  |  | 0
LDNO EHV: LV Sub Generation Aggregated | KV7 | 0 |  |  | 0
LDNO EHV: LV Generation Site Specific | KV3 | 0 |  |  | 0
LDNO EHV: LV Sub Generation Site Specific |  | 0 |  |  | 0
LDNO EHV: HV Generation Site Specific | KV4 | 0 |  |  | 0
LDNO 132kV/EHV: Domestic Aggregated with Residual |  | 0, 1, 2 | 0.19795 | 0 | 0.52095
LDNO 132kV/EHV: Domestic Aggregated (Related MPAN) |  | 2 | 0 | 0 | 0
LDNO 132kV/EHV: Non-Domestic Aggregated No Residual |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO 132kV/EHV: Non-Domestic Aggregated Band 1 |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO 132kV/EHV: Non-Domestic Aggregated Band 2 |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO 132kV/EHV: Non-Domestic Aggregated Band 3 |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO 132kV/EHV: Non-Domestic Aggregated Band 4 |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO 132kV/EHV: Non-Domestic Aggregated (related MPAN) |  | 4 |  |  | 0
LDNO 132kV/EHV: LV Site Specific No Residual |  | 0 |  |  | 0.52095
LDNO 132kV/EHV: LV Site Specific Band 1 |  | 0 |  |  | 0.52095
LDNO 132kV/EHV: LV Site Specific Band 2 |  | 0 |  |  | 0.52095
LDNO 132kV/EHV: LV Site Specific Band 3 |  | 0 |  |  | 0.52095
LDNO 132kV/EHV: LV Site Specific Band 4 |  | 0 |  |  | 0.52095
LDNO 132kV/EHV: LV Sub Site Specific No Residual |  | 0 |  |  | 0.52095
LDNO 132kV/EHV: LV Sub Site Specific Band 1 |  | 0 |  |  | 0.52095
LDNO 132kV/EHV: LV Sub Site Specific Band 2 |  | 0 |  |  | 0.52095
LDNO 132kV/EHV: LV Sub Site Specific Band 3 |  | 0 |  |  | 0.52095
LDNO 132kV/EHV: LV Sub Site Specific Band 4 |  | 0 |  |  | 0.52095
LDNO 132kV/EHV: HV Site Specific No Residual |  | 0 |  |  | 0.52095
LDNO 132kV/EHV: HV Site Specific Band 1 |  | 0 |  |  | 0.52095
LDNO 132kV/EHV: HV Site Specific Band 2 |  | 0 |  |  | 0.52095
LDNO 132kV/EHV: HV Site Specific Band 3 |  | 0 |  |  | 0.52095
LDNO 132kV/EHV: HV Site Specific Band 4 |  | 0 |  |  | 0.52095
LDNO 132kV/EHV: Unmetered Supplies |  | 0, 1 or 8 |  |  | 0
LDNO 132kV/EHV: LV Generation Aggregated |  | 0 |  |  | 0
LDNO 132kV/EHV: LV Sub Generation Aggregated |  | 0 |  |  | 0
LDNO 132kV/EHV: LV Generation Site Specific |  | 0 |  |  | 0
LDNO 132kV/EHV: LV Sub Generation Site Specific |  | 0 |  |  | 0
LDNO 132kV/EHV: HV Generation Site Specific |  | 0 |  |  | 0
LDNO 132kV: Domestic Aggregated with Residual |  | 0, 1, 2 | 0.19795 | 0 | 0.52095
LDNO 132kV: Domestic Aggregated (Related MPAN) |  | 2 | 0 | 0 | 0
LDNO 132kV: Non-Domestic Aggregated No Residual |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO 132kV: Non-Domestic Aggregated Band 1 |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO 132kV: Non-Domestic Aggregated Band 2 |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO 132kV: Non-Domestic Aggregated Band 3 |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO 132kV: Non-Domestic Aggregated Band 4 |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO 132kV: Non-Domestic Aggregated (related MPAN) |  | 4 |  |  | 0
LDNO 132kV: LV Site Specific No Residual |  | 0 |  |  | 0.52095
LDNO 132kV: LV Site Specific Band 1 |  | 0 |  |  | 0.52095
LDNO 132kV: LV Site Specific Band 2 |  | 0 |  |  | 0.52095
LDNO 132kV: LV Site Specific Band 3 |  | 0 |  |  | 0.52095
LDNO 132kV: LV Site Specific Band 4 |  | 0 |  |  | 0.52095
LDNO 132kV: LV Sub Site Specific No Residual |  | 0 |  |  | 0.52095
LDNO 132kV: LV Sub Site Specific Band 1 |  | 0 |  |  | 0.52095
LDNO 132kV: LV Sub Site Specific Band 2 |  | 0 |  |  | 0.52095
LDNO 132kV: LV Sub Site Specific Band 3 |  | 0 |  |  | 0.52095
LDNO 132kV: LV Sub Site Specific Band 4 |  | 0 |  |  | 0.52095
LDNO 132kV: HV Site Specific No Residual |  | 0 |  |  | 0.52095
LDNO 132kV: HV Site Specific Band 1 |  | 0 |  |  | 0.52095
LDNO 132kV: HV Site Specific Band 2 |  | 0 |  |  | 0.52095
LDNO 132kV: HV Site Specific Band 3 |  | 0 |  |  | 0.52095
LDNO 132kV: HV Site Specific Band 4 |  | 0 |  |  | 0.52095
LDNO 132kV: Unmetered Supplies |  | 0, 1 or 8 |  |  | 0
LDNO 132kV: LV Generation Aggregated |  | 0 |  |  | 0
LDNO 132kV: LV Sub Generation Aggregated |  | 0 |  |  | 0
LDNO 132kV: LV Generation Site Specific |  | 0 |  |  | 0
LDNO 132kV: LV Sub Generation Site Specific |  | 0 |  |  | 0
LDNO 132kV: HV Generation Site Specific |  | 0 |  |  | 0
LDNO 0000: Domestic Aggregated with Residual |  | 0, 1, 2 | 0.19795 | 0 | 0.52095
LDNO 0000: Domestic Aggregated (Related MPAN) |  | 2 | 0 | 0 | 0
LDNO 0000: Non-Domestic Aggregated No Residual |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO 0000: Non-Domestic Aggregated Band 1 |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO 0000: Non-Domestic Aggregated Band 2 |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO 0000: Non-Domestic Aggregated Band 3 |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO 0000: Non-Domestic Aggregated Band 4 |  | 0, 3, 4, 5-8 |  |  | 0.52095
LDNO 0000: Non-Domestic Aggregated (related MPAN) |  | 4 |  |  | 0
LDNO 0000: LV Site Specific No Residual |  | 0 |  |  | 0.52095
LDNO 0000: LV Site Specific Band 1 |  | 0 |  |  | 0.52095
LDNO 0000: LV Site Specific Band 2 |  | 0 |  |  | 0.52095
LDNO 0000: LV Site Specific Band 3 |  | 0 |  |  | 0.52095
LDNO 0000: LV Site Specific Band 4 |  | 0 |  |  | 0.52095
LDNO 0000: LV Sub Site Specific No Residual |  | 0 |  |  | 0.52095
LDNO 0000: LV Sub Site Specific Band 1 |  | 0 |  |  | 0.52095
LDNO 0000: LV Sub Site Specific Band 2 |  | 0 |  |  | 0.52095
LDNO 0000: LV Sub Site Specific Band 3 |  | 0 |  |  | 0.52095
LDNO 0000: LV Sub Site Specific Band 4 |  | 0 |  |  | 0.52095
LDNO 0000: HV Site Specific No Residual |  | 0 |  |  | 0.52095
LDNO 0000: HV Site Specific Band 1 |  | 0 |  |  | 0.52095
LDNO 0000: HV Site Specific Band 2 |  | 0 |  |  | 0.52095
LDNO 0000: HV Site Specific Band 3 |  | 0 |  |  | 0.52095
LDNO 0000: HV Site Specific Band 4 |  | 0 |  |  | 0.52095
LDNO 0000: Unmetered Supplies |  | 0, 1 or 8 |  |  | 0
LDNO 0000: LV Generation Aggregated |  | 0 |  |  | 0
LDNO 0000: LV Sub Generation Aggregated |  | 0 |  |  | 0
LDNO 0000: LV Generation Site Specific |  | 0 |  |  | 0
LDNO 0000: LV Sub Generation Site Specific |  | 0 |  |  | 0
LDNO 0000: HV Generation Site Specific |  | 0 |  |  | 0
*Supplier of Last Resort pass-through costs which are recovered on a two year lag allocated to all domestic tariffs with a fixed charge (including LDNO)
**Supplier of Last Resort pass-through costs which are not recovered on a two year lag allocated to all domestic tariffs with a fixed charge (including LDNO)
***Eligible Bad Debt pass-through costs allocated to all metered demand tariffs (including LDNO)

## Nodal prices
Back to Overview
Indigo Power Limited_K - Effective from 1 April 2027 - Final Nodal/Zonal charges
Node/Zone ID | Geographical name | Local charge 1 £/kVA | Remote charge 1 £/kVA

## SSC unit rate lookup
Back to Overview
Standard Settlement Configuration Id | Standard Settlement Configuration Desc | Common Decode | Change implemented | Date | Comments
3 | 10-hour OP | A/R | Notes updated | 2019-06-10 | Updated to reflect DCP 268 which delinks all tariffs from the TPR bands
4 | 10-hour OP | A/R | Code 1 & 2 changed to A | 2019-06-10 | Updated to reflect DCP 268 which delinks all tariffs from the TPR bands
5 | 10-hour OP + w/e | A/R | Code O changed to A/R | 2019-06-10 | Updated to reflect DCP 268 which delinks all tariffs from the TPR bands
6 | 10.5-hour OP | A/R | Removed TPR | 2019-06-10 | Removed TPR lookup element as this no longer effects which rate to apply
7 | 10.5-hour OP | A/R
8 | 10.5-hour OP | A/R
9 | 10.5-hour OP | A/R
10 | 10.5-hour OP | A/R
11 | 10.5-hour OP | A/R
12 | 10.5-hour OP | A/R
13 | 11 Hour OP | A/R
15 | 11 Hour OP | A/R
16 | 11.5-hour OP | A/R
17 | 11.5-hour OP | A/R
18 | 11.5-hour OP | A/R
19 | 11.5-hour OP | A/R
20 | 11.5-hour OP | A/R
21 | 11.5-hour OP | A/R
22 | 11.5-hour OP | A/R
23 | 11-hour OP | A/R
24 | 11-hour OP | A/R
25 | 11-hour OP | A/R
26 | 11-hour OP | A/R
28 | 11-hour OP | A/R
29 | 11-hour OP | A/R
30 | 11-hour OP | A/R
31 | 11-hour OP | A/R
32 | 11-hour OP | A/R
33 | 11-hour OP | A/R
34 | 11-hour OP | A/R
35 | 11-hour OP | A/R
36 | 11-hour OP | A/R
37 | 11-hour OP | A/R
38 | 11-hour OP | A/R
39 | 11-hour OP | A/R
40 | 11.5-hour OP | A/R
41 | 8.5-hour OP | A/R
42 | 9-hour OP | A/R
43 | 9-hour OP | A/R
44 | 8.5-hour OP | A/R
45 | 11-hour OP + Summer | A/R
46 | 11-hour OP + w/e | A/R
47 | 11-hour OP + w/e & Summer | A/R
48 | 11-hour OP + weekends | A/R
49 | 11.5-hour OP | A/R
50 | 12-hour OP + w/e & Summer | A/R
51 | 12-hour night | A
52 | 12-hour OP | A/R
53 | 12-hour OP | A/R
55 | 12-hour OP | A/R
56 | 12-hour OP | A/R
57 | 12-hour OP | A/R
58 | Key Meter pseudo 2-rate | A
59 | 12-hour OP | A/R
60 | 12-hour OP | A/R
62 | 8-hour OP (see also SSC 427) | A
63 | 9-hour OP | A/R
64 | 12-hour OP | A/R
65 | 12-hour OP + Summer | A/R
66 | 12-hour OP + Summer | A/R
67 | 12.5-hour OP | A/R
71 | 12.5-hour OP | A/R
72 | 12.5-hour OP | A/R
73 | 12.5-hour OP | A/R
74 | 12.5-hour OP + Summer | A/R
75 | 12.5-hour OP + w/e | A/R
76 | 12.5-hour OP + w/e | A/R
77 | 12.5-hour OP + w/e | A/R
78 | 12.5-hour OP + w/e & Summer | A/R
79 | 14-hour E7 | A
80 | 14-hour Off Peak | A/R
81 | 14-hour OP + Sun | A/R
82 | 14.5-hour OP | A/R
83 | 14.5-hour OP | A/R
84 | 14.5-hour OP | A/R
85 | 14.5-hour OP | A/R
86 | 14.5-hour OP | A/R
87 | 14.5-hour OP | A/R
88 | 14.5-hour OP | A/R
91 | 14.5-hour OP + Summer | A/R
92 | 14.5-hour OP + Summer | A/R
93 | split 7-hour E7 | A
94 | 14.5-hour OP + Summer | A/R
95 | 14.5-hour OP + Summer | A/R
96 | 14.5-hour OP + Summer | A/R
97 | 14.5-hour OP + w/e | A/R
98 | 14.5-hour OP + w/e & Summer | A/R
99 | 15-hour OP | A/R
100 | 15-hour OP | A/R
101 | 15-hour OP + w/e & Summer | A/R
102 | 15-hour OP + w/e & Summer | A/R
103 | 15-hour OP + w/e & Summer | A/R
104 | 15.5-hour OP | A/R
105 | 15.5-hour OP | A/R
106 | 15.5-hour OP | A/R
107 | 15.5-hour OP | A/R
108 | 15.5-hour OP | A/R
109 | 15.5-hour OP | A/R
110 | 15.5-hour OP | A/R
111 | 15.5-hour OP + Summer | A/R
112 | 15.5-hour OP + w/e | A/R
113 | 15.5-hour OP + w/e | A/R
115 | 15.5-hour OP + w/e | A/R
116 | 15.5-hour OP + w/e | A/R
117 | 15.5-hour OP + w/e | A/R
118 | 15.5-hour OP + w/e & Summer | A/R
119 | 15.5-hour OP + w/e & Summer | A/R
120 | 9-hour OP | A/R
121 | 2-rate terms | A
122 | 2-rate SToD | A
123 | 2-rate variable SToD | A
124 | 2-rate variable SToD | A
125 | 2-rate variable SToD | A
126 | 7-hour E7 | A
127 | 3-rate SToD | A
128 | Dom/Non-dom Seasonal (link SSC 0342) | A
129 | 3-rate SToD | A
130 | 3-rate variable | A
131 | 3-rate variable | A
132 | 4-rate SToD | A
133 | 4-rate SToD | A
134 | 4-rate SToD | A
135 | 4-rate SToD | A
136 | 4-rate SToD | A
137 | 4-rate SToD | A
138 | 4-rate SToD | A
140 | split 7-hour E7 | A
141 | 5-rate SToD | A
142 | 5-rate SToD | A
143 | 15-hour OP | A/R
144 | 6-rate SToD | A
145 | 6-rate SToD | A
146 | 6-rate SToD | A
147 | 6-rate SToD | A
148 | 7-hour OP (see also SSC 0185) | A
149 | Smart 7, heating | A
150 | 7-hour E7 | A
151 | 7-hour E7 | A
152 | 7-hour E7 | A
153 | 7-hour E7 | A
154 | 7-hour E7 | A
155 | split 7-hour E7 | A/R
156 | 7-hour E7 | A
157 | 7-hour E7 | A
158 | 7-hour E7 | A
159 | 12-hour OP | A/R
160 | 7-hour E7 | A
161 | 7-hour E7 | A
162 | 7-hour E7 | A
163 | 7-hour E7 | A
164 | 7-hour E7 | A
165 | 7-hour E7 | A
166 | 7-hour E7 | A
167 | 7-hour E7 | A
168 | 7-hour E7 | A
169 | 7-hour E7 | A
170 | 7-hour E7 | A
171 | 7-hour E7 | A
172 | 7-hour E7 | A
173 | 7-hour E7 | A
174 | 7-hour E7 | A
175 | 7-hour E7 | A
176 | 7-hour E7 | A
177 | 7-hour E7 | A
178 | 7-hour E7 (Cornwall & def reinforcement) | A
179 | 7-hour E7 | A
180 | 7-hour E7 | A
181 | 7-hour E7 | A
182 | 7-hour E7 | A
183 | 7-hour E7 | A
184 | 7-hour E7 | A
185 | 7-hour E7 | A
186 | 7-hour E7 | A
187 | 7-hour E7 | A
188 | 7-hour E7 | A
189 | 7-hour E7 | A/R
190 | 7-hour E7 | A/R
191 | 7-hour E7 | A/R
192 | 7-hour E7 | A/R
193 | 7-hour E7 | A/R
194 | 7-hour E7 | A/R
195 | 7-hour E7 | A/R
196 | 7-hour E7 | A/R
197 | 7-hour E7 | A/R
198 | 7-hour E7 | A/R
199 | 7-hour E7 | A/R
201 | 7-hour E7 | A/R
202 | 7-hour E7 | A/R
203 | 7-hour E7 | A/R
204 | 7-hour E7 | A/R
205 | 7-hour E7 | A/R
206 | 7-hour E7 | A/R
207 | 7-hour E7 | A/R
208 | 7-hour E7 | A/R
209 | 7-hour E7 | A
210 | 7-hour E7 | A
211 | 7-hour E7 | A
212 | 7-hour E7 | A
213 | 7-hour E7 | A
214 | 7-hour E7 | A
215 | 7-hour E7 | A
216 | 7-hour E7 | A
217 | 7-hour E7 | A
218 | 7-hour E7 | A
219 | 7-hour E7 | A
220 | 7-hour E7 | A
221 | 7-hour E7 | A
222 | 7-hour E7 | A
223 | 7-hour E7 | A
224 | 7-hour E7 | A
225 | 7-hour E7 | A
226 | 7-hour E7 | A
227 | 7-hour E7 | A
228 | Supertariff heating | A/R
229 | Supertariff heating | A/R
230 | 7-hour E7 | A/R
231 | split 7-hour E7 | A
233 | split 7-hour E7 | A
234 | split 7-hour E7 | A
235 | split 7-hour E7 | A
236 | split 7-hour E7 | A
237 | split 7-hour E7 | A
238 | 7-hour E7 | A
241 | 7-hour E7 (differential switching) | A
242 | 7-hour night | A
243 | Key Meter pseudo 2-rate | A
244 | 7-hour E7 | A
245 | 7-hour night | A
246 | Economy 7 Day & Night | A
247 | 7-hour night | A
248 | 7-hour E7 | A
249 | 7-hour night | A
250 | 7-hour OP | A/R
251 | 7-hour OP | A/R
252 | 7-hour OP | A/R
253 | 7-hour OP | A/R
254 | 7-hour variable E7 (Menter B) | A
255 | 7-hour variable E7 (Menter A) | A
257 | 8-hour E7 | A
258 | 8-hour night | A
259 | 10-hour night | A
260 | 8-hour night | A/R
261 | 8-hour night | A
262 | 8-hour night | A
263 | 8-hour night | A
264 | 8-hour night | A
265 | 8-hour OP | A/R
266 | 8-hour OP | A/R
267 | 8-hour OP | A/R
268 | 8-hour OP | A/R
269 | 8-hour OP | A/R
270 | 8-hour OP | A/R
271 | 8-hour OP | A/R
272 | 8-hour OP | A/R
273 | 8-hour OP | A/R
274 | 8-hour OP | A/R
276 | 8-hour OP | A/R
277 | 8-hour OP + Summer | A/R
278 | 8-hour OP + w/e | A/R
279 | 8-hour OP + w/e & Summer | A/R
280 | 8-hour OP + weekends | A/R
281 | 9-hour night | A
283 | 9-hour night (differential switching) | A
284 | 9-hour OP | A/R
285 | 9-hour OP | A/R
286 | 9-hour OP + w/e | A/R
287 | Boiler | A/R
288 | Budget Warmth | A/R
289 | Budget Warmth | A/R
290 | Budget Warmth | A/R
291 | Budget Warmth | A/R
292 | Budget Warmth | A/R
297 | Budget Warmth | A/R
298 | Budget Warmth | A/R
299 | Budget Warmth | A/R
300 | Flexiheat Day/Evening/Weekend | A
301 | Flexiheat (weather) Day/Evening/Weekend | A
302 | Superdeal Day/Night | A
303 | Budget Warmth | A/R
304 | Budget Warmth | A/R
305 | Domestic heating tariff | A
306 | Domestic heating tariff | A
307 | Domestic heating tariff | A
308 | Domestic heating tariff | A
309 | Superdeal (weather) Day/Night | A
310 | E10 type 1 (general purpose) | A
312 | 7-hour OP (see also SSC 186) | A
313 | Domestic E9 A | A/R
314 | 13-hour OP | A/R
315 | Evening/night | A/R
316 | Evening/Weekend | A
317 | Evening/Weekend | A
318 | Evening/Weekend | A
319 | 12-hour Evening/Weekend | A
320 | Evening/Weekend | A
321 | Evening/Weekend | A
322 | Evening/Weekend | A
323 | Evening/Weekend | A
324 | Domestic E9 B | A
325 | Evening/Weekend E7 | A
326 | Evening/Weekend E7 | A
327 | Evening/Weekend E7 | A
328 | Evening/Weekend E7 | A
329 | Evening/Weekend E7 | A
330 | Evening/Weekend E7 | A
331 | Evening/Weekend E7 | A
332 | Evening/Weekend E7 | A/R
334 | 3-rate heating, (link SSC 0343) | A
335 | Grain Drying | A
336 | Grain drying | A/R
337 | Grain drying | A/R
338 | Heating | A
339 | Local Authority Heating | A/R
340 | Local Authority Heating | A/R
341 | Local Authority Heating | A/R
342 | Dom & Non-dom Seasonal (link SSC 0128) | A
343 | 3-rate heating, water heating | A
344 | 7-hour E7, Day + Night (link SSC 0345) | A
344 | 7-hour E7, Day + Night (link SSC 0345) | A/R
345 | 7-hour E7, Day + Night (link SSC 0344) | A
346 | Non-Standard OP (8+3 hour) | A/R
347 | Non-Standard OP | A/R
348 | Non-Standard OP | A/R
349 | 7-hour E7 | A
350 | Warmwise heating | A/R
351 | Flexiheat heating | A
352 | Flexiheat (weather) heating | A
353 | Superdeal heating | A
354 | 12-hour OP | A/R
355 | Smart 7, Day/Night | A
357 | split 10-hour Heatwise | A/R
358 | split 10-hour Heatwise | A/R
359 | split 10-hour Heatwise | A/R
360 | split 10-hour Heatwise | A/R
361 | split 10-hour Heatwise | A/R
362 | split 10-hour Heatwise | A/R
363 | split 10-hour Heatwise | A/R
364 | split 10-hour Heatwise | A/R
365 | split 10-hour Heatwise | A/R
366 | split 10-hour Heatwise | A/R
367 | split 10-hour Heatwise | A/R
368 | split 10-hour Heatwise | A/R
369 | split 10-hour Heatwise | A/R
370 | split 10-hour Heatwise | A/R
371 | split 10-hour Heatwise | A/R
372 | Evening/Weekend | A
373 | split 7-hour E7 | A
374 | split 7-hour E7 | A
375 | split 7-hour E7 | A
376 | split 7-hour E7 | A
377 | split 7-hour E7 | A
378 | split 7-hour E7 | A
380 | split 7-hour E7 | A
381 | split 7-hour E7 | A
382 | split 7-hour E7 | A
384 | 7-hour E7 | A
385 | split 7-hour E7 | A/R
386 | 9-hour OP | A/R
387 | 15.5-hour OP | A/R
388 | split 7-hour E7 | A/R
389 | 12.5-hour OP | A/R
390 | split 7-hour E7 | A
391 | Summer & Winter w/e | A/R
392 | Summer Unrestricted | A
393 | Unrestricted | A
394 | 10-hour night | A
395 | Warmwise Day/Night | A
396 | 2-rate SToD | A
397 | 9-hour heating | A
398 | 12-hour OP + w/e | A
399 | 15-hour OP + w/e | A/R
400 | 8-hour night | A
401 | E10 type 1(heating circuit) | A/R
403 | 12-hour night | A
404 | Redring Boiler (general purpose) | A
405 | Redring Boiler (heating circuit) | A/R
406 | Cyclocontrol 3 | A/R
407 | Cyclocontrol 4 | A/R
408 | Cyclocontrol 5 | A/R
409 | Cyclocontrol 6 | A/R
410 | Cyclocontrol 7 | A/R
411 | Cyclocontrol 8 | A/R
412 | Cyclocontrol 9 | A/R
413 | Cyclocontrol 10 | A/R
414 | Cyclocontrol 11 | A/R
415 | Cyclocontrol 12 | A/R
416 | Cyclocontrol 13 | A/R
417 | Cyclocontrol 14 | A/R
418 | Cyclocontrol 15 | A/R
419 | Cyclocontrol 16 | A/R
420 | Cyclocontrol 17 | A/R
421 | Cyclocontrol 18 | A/R
422 | Cyclocontrol 19 | A/R
423 | Cyclocontrol 20 | A/R
424 | Cyclocontrol 21 | A/R
425 | Superdeal (weather) heating | A
426 | 7-hour E7 | A
427 | Day/Night (White meter) | A
428 | Unmetered Type A ("flat" profile) | U
429 | Unmetered B ("dusk-to-dawn") | U
430 | Unmetered C ("half-night & pre-dawn") | U
431 | Unmetered D ("dawn-to-dusk") | U
432 | 7-hour E7 | A
434 | 12 Hour OP | A/R
435 | Domestic 3-rate heating | A
436 | 3-Rate Seasonal | A
437 | Lifestyle Tariff | A
439 | Split 7-hour E7 | A
440 | 3-rate ToW | A
441 | 4-rate SToD | A
442 | 7-hour E7 | A/R
443 | Evening/Weekend | A
444 | Evening/Weekend E7 | A
444 | Evening/Weekend E7 | A/R
445 | 7-hour variable E7 | A
446 | 7-hour variable E7 | A
447 | 7-hour OP | A
448 | 7-hour OP | A
449 | 7-hour OP | A
450 | 7-hour OP | A
451 | 7-hour OP | A
452 | 7-hour OP | A
453 | 7-hour OP | A
454 | 7-hour OP | A
455 | 7-hour OP | A
456 | 7-hour OP | A
459 | 7-hour OP | A
460 | 12 Hours OP | A/R
461 | 12 Hours OP | A/R
462 | 8 Hours OP | A/R
463 | 10.5 Hours OP | A/R
464 | Weekender Tariff (V1) | A
465 | Weekender Tariff (V2) | A
466 | Maximum Demand Register | A
467 | Maximum Demand Register | A
468 | Maximum Demand Register | A
469 | Maximum Demand Register | A
470 | Maximum Demand Register | A
473 | Economy 7 - all purpose tariff G63 | A
474 | split 7hr o/p | A/R
475 | Split 7hr E7 | A
476 | 14.5 hr o/p | A/R
477 | 14.5 hr o/p | A/R
478 | Evening/Weekend E7 | A
479 | Split 7-hour E7 | A
480 | Split 7-hour E7 | A
481 | Split 7-hour E7 | A
482 | Micro-PV Export Import Profile Class 1 | G
483 | Micro-PV Export Import Profile Class 2 | G
484 | Micro-PV Export Import Profile Class 3 | G
485 | Micro-PV Export Import Profile Class 4 | G
486 | Micro-PV Export Import Profile Class 5 | G
487 | Micro-PV Export Import Profile Class 6 | G
488 | Micro-PV Export Import Profile Class 7 | G
489 | Micro-PV Export Import Profile Class 8 | G
490 | Micro-CHP Export Import Profile Class 1 | G
491 | Micro-CHP Export Import Profile Class 2 | G
492 | Micro-CHP Export Import Profile Class 3 | G
493 | Micro-CHP Export Import Profile Class 4 | G
494 | Micro-CHP Export Import Profile Class 5 | G
495 | Micro-CHP Export Import Profile Class 6 | G
496 | Micro-CHP Export Import Profile Class 7 | G
497 | Micro-CHP Export Import Profile Class 8 | G
498 | Other Sml Export SSC any import Profile | G
701 | 8.5-hour OP + w/e | A/R
702 | 8.5-hour OP + w/e | A/R
703 | 12-hour OP + w/e | A/R
704 | 12-hour OP + w/e | A/R
705 | 12-hour OP + w/e | A/R
706 | 12-hour OP + w/e | A/R
707 | 12-hour OP + w/e | A/R
708 | 12-hour OP + w/e | A/R
709 | 12-hour OP + w/e | A/R
710 | 12-hour OP + w/e | A/R
711 | 12-hour OP + w/e | A/R
712 | 16-hour OP + w/e | A/R
713 | 16-hour OP + w/e | A/R
714 | 16-hour OP + w/e | A/R
715 | 16-hour OP + w/e | A/R
716 | 20-hour OP + w/e | A/R
717 | 20-hour OP + w/e | A/R
718 | 20-hour OP + w/e + summer | A/R
719 | 20-hour OP + w/e + summer | A/R
720 | 3-rate SToD | A
721 | 8.5 hour WM | A
722 | 8.5 hour WM | A
723 | 8.5 hour WM | A
724 | 8.5 hour WM | A
725 | 8.5 hour WM | A
726 | 8.5 hour WM | A
727 | 8.5 hour WM | A
728 | 8.5 hour WM Heating | A
729 | 8.5 hour WM | A
730 | 8.5 hour WM Heating | A
731 | 8.5 hour WM | A
732 | 8.5 hour WM Heating | A
733 | 8.5 hour WM | A
734 | 8.5 hour WM Heating | A
735 | 8.5 hour WM | A
736 | 8.5 hour WM Heating | A
737 | 8.5 hour WM | A
738 | 8.5 hour WM Heating | A
739 | 8.5 hour WM | A
740 | 8.5 hour WM Heating | A
741 | 8.5 hour WM | A
742 | 8.5 hour WM Heating | A
743 | 8.5 hour WM | A
744 | 8.5 hour WM Heating | A
745 | 8.5 hour WM | A
746 | 8.5 hour WM Heating | A
747 | 8.5 hour WM | A
748 | 8.5 hour WM | A
749 | 8.5 hour WM Heating | A
752 | 8.5 hour WM | A
753 | Weathercall heating | A
754 | 8.5 hour WM | A
755 | Weathercall heating | A
756 | 8.5 hour WM | A
757 | Weathercall heating | A
758 | 8.5 hour WM | A
759 | Weathercall heating | A
760 | 8.5 hour WM | A
761 | Weathercall heating | A
762 | 8.5 hour WM | A
763 | Weathercall heating | A
764 | 8.5 hour WM | A
765 | Weathercall heating | A
766 | 8.5 hour WM | A
767 | Weathercall heating | A
768 | 8.5 hour WM | A
769 | Weathercall heating | A
770 | 18-hour dynamic | A
775 | Crop&Air Conditioning | A
776 | Crop&Air Conditioning | A
781 | 8.5 hour WM | A/R
782 | 8.5 hour WM | A
783 | 8.5 hour WM | A
784 | 8.5 hour WM | A
785 | 8.5 hour WM | A
786 | 8.5 hour WM | A
787 | E7 accompanying Birmingam W'call | A
788 | Birmingham Weathercall | A
789 | E7 accompanying Manchester W'call | A
790 | Manchester Weathercall | A
791 | E7 accompanying Anglesey W'call | A
792 | Anglesey Weathercall | A
793 | 8.5 hour WM | A
794 | 8.5 hour WM Heating | A
801 | Unrestricted | A
802 | Two rate with 8 hours night | A
803 | Dynamic | A/R
804 | Two rate with 8 hours night | A
805 | Dynamic | A/R
806 | Two rate with 8 hours night | A
807 | Dynamic | A/R
808 | Two rate with 8 hours night | A
809 | Dynamic | A/R
810 | Two rate with 8 hours night | A
811 | Dynamic | A/R
812 | Two rate with 8 hours night | A
813 | Dynamic | A/R
814 | Two rate with 8 hours night | A
815 | Dynamic | A/R
816 | Two rate with 8 hours night | A
817 | Dynamic | A/R
818 | Two rate with 8 hours night | A
819 | Dynamic | A/R
820 | Two rate with 8 hours night | A
821 | Dynamic | A/R
822 | Two rate with 8 hours night | A
823 | Dynamic | A/R
824 | Two rate with 8 hours night | A
825 | Dynamic | A/R
826 | Two rate with 8 hours night | A
827 | Dynamic | A/R
828 | Two rate with 8 hours night | A
829 | Dynamic | A/R
830 | Two rate with 8 hours night | A
831 | Dynamic | A/R
832 | Two rate with 8 hours night | A
833 | Dynamic | A/R
834 | Two rate with 8 hours night | A
835 | Dynamic | A/R
836 | Two rate with 8 hours night | A
837 | Dynamic | A/R
838 | Two rate with 8 hours night | A
839 | Dynamic | A/R
840 | Two rate with 8 hours night | A
841 | Dynamic | A/R
842 | Two rate with 8 hours night | A
843 | Dynamic | A/R
844 | Two rate with 8 hours night | A
845 | Dynamic | A/R
846 | Two rate with 8 hours night | A
847 | Dynamic | A/R
848 | Two rate with 8 hours night | A
849 | Dynamic | A/R
850 | Dynamic | A/R
851 | Dynamic | A/R
852 | Two rate with 8 hours night | A
853 | Two rate with 8 hours night | A
854 | Two rate with 8 hours night | A
855 | Two rate with 8 hours night | A
856 | Two rate with 8 hours night | A
857 | Two rate with 8 hours night | A
858 | Two rate with 8 hours night | A
859 | Two rate with 8 hours night | A
860 | Two rate with 8 hours night | A
861 | Two rate with 8 hours night | A
862 | Two rate with 8 hours night | A
863 | Two rate with 8 hours night | A
864 | Two rate with 8 hours night | A
865 | Two rate with 8 hours night | A
866 | Dynamic | A/R
867 | Two rate with 8 hours night | A
868 | Dynamic | A/R
869 | Two rate with 8 hours night | A
870 | Dynamic | A/R
871 | Two rate with 8 hours night | A
872 | Dynamic | A/R
873 | Two rate with 8 hours night | A
874 | Dynamic | A/R
875 | Two rate with 8 hours night | A
876 | Dynamic | A/R
877 | Two rate with 8 hours night | A
878 | Dynamic | A/R
879 | Two rate with 8 hours night | A
880 | Dynamic | A/R
881 | Two rate with 8 hours night | A
882 | Dynamic | A/R
883 | Two rate with 8 hours night | A
884 | Dynamic | A/R
885 | Two rate with 8 hours night | A
886 | Dynamic | A/R
887 | Two rate with 8 hours night | A
888 | Dynamic | A/R
889 | Two rate with 8 hours night | A
890 | Dynamic | A/R
891 | Dynamic | A/R
892 | Dynamic | A/R
893 | Dynamic | A/R
894 | 8 Hours OP | A/R
895 | 8 Hours OP | A/R
896 | 8 Hours OP | A/R
897 | Dynamic | A/R
898 | Dynamic | A/R
899 | 11 Hours OP | A/R
900 | 11 Hours OP | A/R
901 | 11 Hours OP | A/R
902 | 11 Hours OP | A/R
903 | 11 Hours OP | A/R
904 | 8 Hours OP + Weekends | A/R
905 | 8 Hours OP + Weekends | A/R
906 | 8 Hours OP + Weekends | A/R
907 | 15 Hours OP + Weekends | A/R
908 | 15 Hours OP + Weekends | A/R
909 | 15 Hours OP + Weekends | A/R
910 | 15 Hours OP + Weekends | A/R
911 | 15 Hours OP + Weekends | A/R
912 | 15 Hours OP + Weekends | A/R
913 | 15 Hours OP + Weekends | A/R
914 | 15 Hours Nov - April/24 Hours May - Oct | A
915 | 8 Hours OP | A
916 | 8 Hours OP | A
917 | 8 Hours OP | A
918 | Evening/Weekend | A
919 | 2 rate | A
920 | 2 rate | A
922 | Unrestricted | A
923 | Unrestricted | A
924 | Unrestricted | A
925 | Unmetered Type A ("flat " profile) | U
926 | Unmetered B ("dusk-to-dawn") | U
927 | Unmetered D ("dawn-to-dusk") | U
928 | Unmetered C ("half-night & pre-dawn") | U
929 | 11 Hours OP | A/R
930 | 11 Hours OP | A/R
931 | 11 Hours OP | A/R
932 | Seasonal ToD | A
933 | Two rate with 8 hours night | A
934 | Dynamic | A/R
935 | Split 10 hr E10 | A
936 | Split 10 hr E10 | A
937 | Split 10 hr E10 | A
938 | Split 10 hr E10 | A
939 | Split 10 hr E10 | A
940 | NHH Export Hydro Profile Class | G
941 | NHH Export Wind Profile Class | G
942 | 7-hour E7 (Cornwall & def reinforcement) | A
943 | 7-hour E7 | A
944 | 7-hour E7 | A
945 | 7-hour E7 | A
946 | 7-hour E7 | A
947 | Smart Meter 3 Rate Time of Day | A
948 | 10 hour Evening/Weekend | A
949 | General Purpose 2 Rate (paired wth 0950) | A
950 | E10 Heating Single Rate (prd wth 0949) | A/R
951 | E9 Heating | A/R
952 | General Purpose 2 Rate (paired wth 0951) | A
953 | Two rate with 20 hours night | A
954 | Three Rate Peak Day Other | A
955 | 4 rate weekday/2 rate weekend | A
956 | 4 Rate Weekday/2 rate Weekend (BST) | A
957 | Unrestricted with Weekday Peak | A
958 | Unrestricted with Peak | A
959 | Economy 7 with Weekday Peak | A
960 | Economy 7 with Peak | A
961 | Evening Weekend and Weekday Peak (smart) | A
962 | Evening Weekend with Peak | A
963 | Evening Weekend Night and Peak | A
964 | Evening Weekend with Night (BST) | A
965 | 3 Rate with Weekday Peak | A
966 | 8-hour OP | A/R
967 | Superdeal Day/Night | A
968 | Superdeal Day/Night | A
969 | 3 Rate with Weekday Peak | A
970 | split 7-hour E7 | A
971 | Smart meter trial - time of use 3 rate | A
972 | 2 Rate Saturday Off Peak | A
973 | Flexiheat Day/Evening/Weekend | A
974 | Flexiheat heating | A
975 | Saturday Off Peak (9-5) | A
976 | Sunday Off Peak (9-5) | A
978 | 7-hour OP | A/R
979 | Non-Standard OP (8+3 hour) | A/R
980 | General Purpose 2 Rate (paired with 0980 | A
981 | E10 Heating Single Rate (prd with 0981) | A/R
982 | Evening Saver | A
983 | Comfort Booster | A
984 | Saturday Off Peak (24 Hrs) | A
985 | Sunday Off Peak (24 Hrs) | A
989 | Redring Boiler (general purpose) | A
990 | Redring Boiler (heating circuit) | A/R
991 | 8-hour OP | A/R
996 | Lifestyle Tariff | A
997 | Evening/Weekend - BST | A
Notes:
There are a few governing rules that should be applied:
Specific notes for application of or tariffss:
  All tariffs are all delinked and set time bands are applied in place of the TPR’s timebands.
The following rules apply when allocating tariffs in DNO areas.
  1, G and U should be applied straight to the appropriate SSC to identify generation and UMS tariffs.
  Then considering the SSC alongside the PC.
  2, PC1s should be labelled Domestic Aggregated.
  3, PC2s with SSCs with A/R should be labelled Domestic Aggregated (related MPAN).
  4, Remaining PC2s should be labelled Domestic Aggregated.
  5, PC3s should be labelled Non Domestic Aggregated.
  6, PC4s with SSCs with A/R should be labelled Non Domestic Aggregated (related MPAN).
  7, Remaining PC4s should be labelled Non Domestic Aggregated.
  8, PC5 – 8s should be labelled Non Domestic Aggregated.
Common decode:
  A: Aggregated - replaces the Day & Night rates (1 & 2)
  A/R: Aggregated if on PC1 / PC3 / PC5 / PC6 / PC7 / PC8 or Aggregated (related MPAN) if on PC2 / PC4
  G: Generation
  U: Unmetered Supplies

## Residual Charging Bandings
Back to Overview
Indigo Power Limited_K - Effective from 2027/2028 - Final Residual Charging Bandings
Voltage of Connection | Band | Units | Lower Threshold* | Upper Threshold* | Residual Charge per MPAN (£)
Domestic Aggregated | Single band | - | - | -
Designated Properties connected at LV, billing with no MIC | 1 | kWh | - | 3571
| 2 | kWh | 3571 | 12553
| 3 | kWh | 12553 | 25279
| 4 | kWh | 25279 | ∞
Designated Properties connected at LV, billing with MIC | 1 | kVA | - | 80
| 2 | kVA | 80 | 150
| 3 | kVA | 150 | 231
| 4 | kVA | 231 | ∞
Designated Properties connected at HV | 1 | kVA | - | 422
| 2 | kVA | 422 | 1000
| 3 | kVA | 1000 | 1800
| 4 | kVA | 1800 | ∞
Designated EHV Properties | 1 | kVA | - | 5000
| 2 | kVA | 5000 | 12000
| 3 | kVA | 12000 | 21500
| 4 | kVA | 21500 | ∞
* All boundaries are inclusive of the upper threshold and exclusive of the lower threshold i.e. Lower < x ≤ Upper.

## Charge Calculator
Back to Overview
Indigo Power Limited_K - Effective from 1 April 2027 - Final | [17 empty] | Red/black unit charge p/kWh | Amber/yellow unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded capacity charge p/kVA/day | Reactive power charge p/kVArh
[17 empty] | Domestic Aggregated | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | n/a | n/a | n/a
LV and HV designated properties and Unmetered Supplies tariff calculator | [7 empty] | EHV designated property calculator | [8 empty] | Domestic Aggregated (related MPAN) | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | n/a | n/a | n/a | n/a
Step 1, Choose your tariff using the drop down list in cell B10 | [7 empty] | Step 1, Choose your tariff using the drop down list in cell L10 | [8 empty] | Non-Domestic Aggregated | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | n/a | n/a | n/a
Step 2, After selecting a tariff in step 1, Cells C12-I12 will generate headings, please enter your consumption in cells C13:I13 underneath each heading generated (if no heading leave cell blank) | [7 empty] | Step 2, After selecting a tariff in step 1, Cells M12-T12 will generate headings, please enter your consumption in cells M13:T13 underneath each heading generated (if no heading leave cell blank) | [8 empty] | Non-Domestic Aggregated (related MPAN) | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | n/a | n/a | n/a | n/a
Step 3, Enter a forecast of consumption if required in cells C14:I14 | [7 empty] | Step 3, Enter a forecast of consumption if required in cells M14:T14 | [8 empty] | LV Site Specific | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded Capacity charge p/kVA/day | Reactive power charge p/kVArh
[17 empty] | LV Sub Site Specific | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded Capacity charge p/kVA/day | Reactive power charge p/kVArh
Tariff details Choose tariff name from drop down box below | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded Capacity charge p/kVA/day | Reactive power charge p/kVArh | Site details Choose the site name from the drop down box below | Import Super Red unit charge (p/kWh) | Import fixed charge (p/day) | Import capacity charge (p/kVA/day) | Import exceeded capacity charge (p/kVA/day) | Export Super Red unit charge (p/kWh) | Export fixed charge (p/day) | Export capacity charge (p/kVA/day) | Export exceeded capacity charge (p/kVA/day) | HV Site Specific | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | Capacity charge p/kVA/day | Exceeded Capacity charge p/kVA/day | Reactive power charge p/kVArh
LV Site Specific | [7 empty] | Afon Llan 33kV PV | [8 empty] | Unmetered Supplies | Black unit charge p/kWh | Yellow unit charge p/kWh | Green unit charge p/kWh | n/a | n/a | n/a | n/a
[17 empty] | LV Generation Aggregated | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | n/a | n/a | n/a
Tariff components | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | Number of days in consumption period i.e. 365 if one year | Maximum import or export capacity kVA | Average daily exceeded capacity kVA | Excess reactive units kVArh | Tariff components | Import super red kWh | Number of days in consumption period i.e. 365 if one year | Maximum import capacity kVA | Average daily exceeded capacity kVA | Export Super Red kWh | Number of days in consumption period i.e. 365 if one year | Maximum export capacity kVA | Average daily exceeded capacity kVA | LV Sub Generation Aggregated | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | n/a | n/a | n/a
Enter current consumption details | [7 empty] | Enter current consumption details | [5 empty] | 0 |  |  | LV Generation Site Specific | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | n/a | n/a | Reactive power charge p/kVArh
Enter forecast consumption details (if different) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enter forecast consumption details (if different) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | LV Generation Site Specific no RP charge | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | n/a | n/a | n/a
[17 empty] | LV Sub Generation Site Specific | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | n/a | n/a | Reactive power charge p/kVArh
Charge components | Unit 1 £ | Unit 2 £ | Unit 3 £ | Fixed charge £ | Capacity charge £ | Exceeded capacity charge £ | Reactive power charge £ | Charge components | Import super red charge £ | Import fixed charge £ | Import capacity charge £ | Import exceeded capacity charge £ | Export super red charge £ | Export fixed charge £ | Export capacity charge £ | Export exceeded capacity charge £ | LV Sub Generation Site Specific no RP charge | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | n/a | n/a | n/a
Current consumption period charges | [7 empty] | Current consumption period charges | [8 empty] | HV Generation Site Specific | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | n/a | n/a | Reactive power charge p/kVArh
Forecast consumption period charges | [7 empty] | Forecast consumption period charges | [8 empty] | HV Generation Site Specific no RP charge | Red unit charge p/kWh | Amber unit charge p/kWh | Green unit charge p/kWh | Fixed charge p/MPAN/day | n/a | n/a | n/a
| Total charge £ | [7 empty] | Import total charge £ | Export total charge £
Current consumption period charges | 0 | [6 empty] | Current consumption period charges | 0 | 0
Forecast consumption period charges | 0 | [6 empty] | Forecast consumption period charges | 0 | 0
These charges are estimates based on tariff selected and consumption values entered. | [7 empty] | These charges are estimates based on site selected and consumption values entered.
Note:
For the purpose of forecasting the exceeded capacity charge, the input in this calculator uses the average daily exceeded capacity as this reduces the calculators complexity, however as per the Use of System Charging Statement, the exceeded portion of the capacity will be charged at the exceeded capacity charge p/kVA/day rate, based on the difference between the MIC/MEC and the actual capacity used. This will be charged for the full duration of the month in which the breach occurs.”